[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




APGAR TIMER – CE FILE 

Manufacturing Route.

· Viamed places orders with “Phoenix Mecano” 

· Viamed Purchases all parts from various suppliers as shown on the Suppliers list.

· “Pheonix Mecano” arranges delivery of goods when complete.

· Products of suitable quality are booked into stock.

· Final assembly of the item is done by Viamed

· All parts are QC checked and inspected before shipment.

· Unsuitable product will be rejected and returned / re-worked.

· Finished products are cleaned, and “Opera” is updated with stock allocation, before release.

JK. Manufacturing Route_Apgar Timer
10/01/2005                                                                                                                                                           Page 1



[image: image1.jpg][image: image2.png]