[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




APGAR TIMER – CE FILE 

Packaging Trial & Validation

The following should be checked:
· The unit being sent is to the specification as detailed on the official order.

· The instructions for use and cleaning instructions are included.

Packaging:

· The Units are delivered, by courier, from “Boplar” wrapped in Bubble Wrap.

· The units are then re-packed individually in a cardboard box, together with a pack of four AA Batteries.

· The units are then place in a cardboard box with airbags surrounding – applied with use of the Specific airbag machine.

Delivery:

· For single and multiple orders – Despatch is via an applicable courier with adequate insurance.

· For use with an Infant Resuscitation Cabinet, the boxed unit is supplied inside the Cabinet. The whole is then palletised, strapped and shrink wrapped.

· Alternative Delivery is via a Hospital visit by a Sales Representative.

M. Packaging Trial & Validation_Apgar Timer


17/12/2004                                                                                                                                             Page 1



[image: image1.jpg][image: image2.png]