[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]


                          

APGAR TIMER – CE FILE


Quality Plan.

· Viamed is certified to ISO 9001/2000 & ISO 13485/2003, and these standards are the basis of quality assurance & control throughout the company.

Manufacturing procedures are in place for all goods manufactured by Viamed (and / or sub-contractors) and can be found in:


1. ISO Quality manual.

2. ISO Procedures manual.

3. Paperport on network.

4. Intrastats

5. Word processing documents.

6. Repair procedures can be found as above.

7. Suppliers are continually monitored for quality of goods and delivery reliability.

· All products not manufactured by Viamed and not from a company with a proven 100% record for quality or specification compliance are either individually tested or batch tested.

· All parties currently involved have ISO9001 minimum, or have been historically approved by Viamed for product quality etc.

· All component parts, pre-manufactured by suppliers, will be Inspected and tested by that particular supplier.

· Final complete package will have final QA by Viamed.

N. Quality plan Viamed_Apgar Timer.doc
08/05/2008

Page 1

[image: image1.jpg][image: image2.png]