Viamed Electronic Timer Box.

Dear At,

The battery specification has had to be changed to increase the battery life.

This has resulted in the battery being changed from a single 9 volt PP3 style to four AA style batteries sitting side-by-side in a plastic holder mounted on the PCB.

The dimensions of the new holder are: 62mm long x 58mm wide x 16mm high.

This would suggest a maximum box size of approximately 200mm long x 90mm wide x 25mm deep.

Ideally, the electronics would be in a separate compartment to the battery, which would have its own “door” – a bit like a multi-meter case.  No spare battery compartment would be needed.

A sketch is attached to give a guide to the new box.

Please accept my apologies for messing you about like this when you are helping me find a box.

Best wishes,

Peter Anderson

