[image: image1.png]


 

                   O2 Sensors

	COMPANY OPERATING PROCEDURES


Maxtec Max-12(PN 0110412) & Max 12F (PN 0110442)
O2 Sensor Test Procedure

VM3/COP/37.18
	Date:
  3-Feb-03
	Revision date: 21-Apr-05
	Issue:   3



Test & Equipment Required

Visual check only - no test equipment required.

Output specification as in document: (VM3COP37.00, column (i)).

Method.

1. Open the packaging and remove the O2 sensor.

2. Check the O2 sensor for damage and signs of leaking electrolyte.

3. Remove the O2 sensor specification leaflet and discard.  

4. Label with Viamed stickers if appropriate.

5. Reseal in serial numbered packet, integrity seal the edge of the packet with initialed and dated Viamed sticker and re-box.

6. Ensure the O2 sensor is booked out in the stock books.
















Page 1 of 1

[image: image1.png]