	Internal Audit Check list

	SERVICE LOGS

	Created:

	17/May 1995
	Audit No 24
	

	Revised:
	12 June 2017
	
	Page 7 of 7

	Audit Date
	
	Auditor
	



	Company / ISO Section 
	Criteria of ISO Section 
	Auditor Comments / Issues

	VST Ltd ISO9001:2015 8.5.1
	Control of production and service provision
The organization shall implement production and service provision under controlled conditions. 
Controlled conditions shall include, as applicable: 
a) the availability of documented information that defines: 
1) the characteristics of the products to be produced, the services to be provided, or the activities to be performed; 
2) the results to be achieved; 
b) the availability and use of suitable monitoring and measuring resources; 
c) the implementation of monitoring and measurement activities at appropriate stages to verify that criteria for control of processes or outputs, and acceptance criteria for products and services, have been met; 
d) the use of suitable infrastructure and environment for the operation of processes; 
e) the appointment of competent persons, including any required qualification; 
f) the validation, and periodic revalidation, of the ability to achieve planned results of the processes for production and service provision, where the resulting output cannot be verified by subsequent monitoring or measurement; 
g) the implementation of actions to prevent human error; 
h) the implementation of release, delivery and post-delivery activities
	

	Viamed Ltd ISO13485:2016 7.5.1
	Control of production and service provision
Production and service provision shall be planned, carried out, monitored and controlled to ensure that product conforms to specification. As appropriate, production controls shall include but are not limited to: 
a) documentation of procedures and methods for the control of production (see 4.2.4); 
b) qualification of infrastructure; 
c) implementation of monitoring and measurement of process parameters and product characteristics; 
d) availability and use of monitoring and measuring equipment; 
e) implementation of defined operations for labelling and packaging; 
f) implementation of product release, delivery and post-delivery activities. 
The organization shall establish and maintain a record (see 4.2.5) for each medical device or batch of medical devices that provides traceability to the extent specified in 7.5.9 and identifies the amount manufactured and amount approved for distribution. The record shall be verified and approved.
	

	Viamed Ltd ISO13485:2016 7.5.3
	Installation activities
The organization shall document requirements for medical device installation and acceptance criteria for verification of installation, as appropriate. 
If the agreed customer requirements allow installation of the medical device to be performed by an external party other than the organization or its supplier, the organization shall provide documented requirements for medical device installation and verification of installation. 
Records of medical device installation and verification of installation performed by the organization or 
its supplier shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.4
	Servicing activities
If servicing of the medical device is a specified requirement, the organization shall document servicing procedures, reference materials, and reference measurements, as necessary, for performing servicing activities and verifying that product requirements are met. 
The organization shall analyse records of servicing activities carried out by the organization or its supplier: 
a) to determine if the information is to be handled as a complaint; 
b) as appropriate, for input to the improvement process. 
Records of servicing activities carried out by the organization or its supplier shall be maintained (see 4.2.5).
	

	Viamed Ltd ISO13485:2016 7.5.6
	Validation of processes for production and service provision
The organization shall validate any processes for production and service provision where the resulting output cannot be or is not verified by subsequent monitoring or measurement and, as a consequence, deficiencies become apparent only after the product is in use or the service has been delivered. 
Validation shall demonstrate the ability of these processes to achieve planned results consistently. 
The organization shall document procedures for validation of processes including: 
a) defined criteria for review and approval of the processes; 
b) equipment qualification and qualification of personnel; 
c) use of specific methods, procedures and acceptance criteria; 
d) as appropriate, statistical techniques with rationale for sample sizes 
e) requirements for records (see 4.2.5); 
f) revalidation, including criteria for revalidation; 
g) approval of changes to the processes. 
The organization shall document procedures for the validation of the application of computer software used in production and service provision. Such software applications shall be validated prior to initial use and, as appropriate, after changes to such software or its application. The specific approach and activities associated with software validation and revalidation shall be proportionate to the risk associated with the use of the software including the effect on the ability of the product to conform to specifications. 
Records of the results and conclusion of validation and necessary actions from the validation shall be maintained (see 4.2.4 and 4.2.5).
	

	Viamed Ltd ISO13485:2016 8.2.4
	Internal audit
The organization shall conduct internal audits at planned intervals to determine whether the quality management system: 
a) conforms to planned and documented arrangements, requirements of this International Standard, quality management system requirements established by the organization, and applicable regulatory requirements; 
b) is effectively implemented and maintained. 
The organization shall document a procedure to describe the responsibilities and requirements for planning and conducting audits and recording and reporting audit results. 
An audit program shall be planned, taking into consideration the status and importance of the processes and area to be audited, as well as the results of previous audits. The audit criteria, scope, interval and methods shall be defined and recorded (see 4.2.5). The selection of auditors and conduct of audits shall ensure objectivity and impartiality of the audit process. Auditors shall not audit their own work. 
Records of the audits and their results, including identification of the processes and areas audited and the conclusions, shall be maintained (see 4.2.5). 
The management responsible for the area being audited shall ensure that any necessary corrections and corrective actions are taken without undue delay to eliminate detected nonconformities and their causes. Follow-up activities shall include the verification of the actions taken and the reporting of verification results. 
NOTE Further information can be found in ISO 19011.
	

	Viamed Ltd ISO13485:2016 8.4
	Analysis of data
The organization shall document procedures to determine, collect and analyse appropriate data to demonstrate the suitability, adequacy and effectiveness of the quality management system. The procedures shall include determination of appropriate methods, including statistical techniques and the extent of their use. 
The analysis of data shall include data generated as a result of monitoring and measurement and from other relevant sources and include, at a minimum, input from: 
a) feedback; 
b) conformity to product requirements; 
c) characteristics and trends of processes and product including opportunities for improvement; 
d) suppliers; 
e) audits; 
f) service reports, as appropriate. 
If the analysis of data shows that the quality management system is not suitable, adequate or effective, the organization shall use this analysis as input for improvement as required in 8.5. 
Records of the results of analyses shall be maintained (see 4.2.5).
	


Answer questions 1-4, Any non conformance generate an Issue.
1. Review Last years Audit. Update processes if required. 
Are all follow on Issue resolved satisfactory.

INTRASTATS STOCK MENU – SERVICE VISITS – Service Visits. 
All Active and Single visit services should be shown.
2. Are Any service Visits Over Due
Note Tracking ID 34 in the Example,
[image: image1.png]To Add new Servicing

Start by finding the Hospital

Service Logs

Company via Int
Use the '0' Delivery account

KEY
Recuring Service
[Once Only Service]

trastats CRM

[racking ID|Service \Diiﬁ#sopera lLocation IDescription [Equipment ListiDue Date|Scheduled Date|ORD's

ha h2 12 |00004390/sunderiand Royal Hospital IDelivery Suite and Neonatal Unit lagitems  [26/01/15 |- lorDE9051/™ \ﬁ /
3 12 [0004260Royal Preston Hospital [Resus cabinets, Delivery Suite l1items  |o3i0ai1s N/
bo 12 [00000780[Burnley General Hospital [Resus Cabinets and Blenders 28items  (11/09/15 - N/
b7 12 [00000550Reyal Blackburn Hospital [Resus cabinet and blender annual service(12 ltems  (17/09/15 - N/

14 14 0 |oooos210Walsall Manor Hospital [Tom Thumb Conversions and Upgrade 4 Items 15102113 |- N

13 13 0 |oooo1as0icounty Durham & Darlington Hospital maternity tom thumbs Moitems  [18104/13 |- N

bs bs 0 |00000591Royal Bolton Hospital [Resus cabinet upgrade to include blender (32 items  (17/05/13 - N

bs 18 0 |oo002370Westmoriand General Hospital [Resus cabinet upgrade to include blender |1 items 19106114 |- AN

80 b3 0 |00003580North Manchester General Hosp  [Resus cabinet and blender annual service[16 ltems — (30/07/14 - N





Has the Over due Visit got any Action notes:
[image: image2.png]



Click:
3. Have any over due Visit NOT got any action [image: image3.png]Senvice Visit ID: 12 Tracking ID 34
[Location Notes

IHotel Notes Booked in Bede Guest Hou
onday 26th January for th
nights. Contact name at Guest
House mela T
67833787481
Enailed Pam to ad

Dates Booked eek comencing 2
Booked in Bede Guest Hou

londay 26th Jan for three nigts
Had to cancel above dates as per
Phil.. will re-organize once Phil ~

is feeling better Py
[Engineer notes leed to call/e-nail Da
on the morning to 0K

{Completion notes

IService Engineer has completed the Visit
Service Engineer has scanned all relevant parts
Service Reports Sent

[Primary Contact Sent Reports v
Service Reports Confirmed Received
iinvoice can now be generated/sent Will flag ORDB9051 Yellow in the Active List

iService Visitis fully complete



notes?
[image: image4.png]Issue # 53586 - Se
iDate Created 28/10/14
(Created By-Auto_Calender
iDate Completed: 31/10/14

e exi

Issue # 53571 - Se
iDate Created 27/10/14
(Created By-Auto_Calender
iDate Completed: 31/10/14

Issue # 53437 - Se
iDate Created 21/10/14
(Created By-Auto_Calender
iDate Completed: 31/10/14

heck The Senvice VisitLogs

Check the Service Vi

System Generated

28 Oct 2014 Lisa Leggoe
No services due

Check the Service v
System Generated

logs

27 Oct 2014 Steve Hardaker
Done.

Check the Service v
System Generated

logs

51 et O014 1 ica | armAS





Drop out of the Service Visit Section, Search Intrastats
In the Subject Contains Words box type: Check The Service Visit Logs
[image: image5.png]



You should see a list of system generated tasks to 2 Different employees,
Scroll down the list, 
4. Are more than 1 Issue outstanding per user.
5. Any problems found in the Issues system not being addressed.
Sub Processes Linked to Audit 
Review the below processes tasks and audits and ensure they are completed in a timely manner.
List Processes Per Title
	Audits
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 7889
To carry out Audit 24 Servicing Viamed
	
	288
Company Secretary
	Freq 1
Risk 2
Overall 2
	Audit 12M
	 

	Office Processes
	
	
	
	
	

	Process Scope
	Roll Task
	Roll Audit
	Risk
	Action
	Notes / Issues

	PROCESSID 5857
Ensuring customer onsite service visits are completed
	233
Office Processes
	234
UK Sales Controller
	Freq 4
Risk 1
Overall 4
	Task 1W
Audit 1M
	 

	PROCESSID 7760
Send letters to existing customers to remind them that a service is due on their equipment
	607
Marketing Processes
	898
Company Secretary
	Freq 1
Risk 1
Overall 1
	Task 1W
Audit 4W
	 


   07/08/2020        Page 7 of 7

