  [image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]




Blu-OX Analyser – CE FILE

Index of Documentation.

	Section.
	Description.
	Ref MDD

 / Ref ISO 9001.
	Document.
	Status.
	A/NA.
	Done.

	i
	Preliminary Outline
	
	Introduction

CD - Amendment control
	
	A

A
	√

√

	A
	Index of documentation.

Location of documents
	
	Index of documentation.

Location of documents. 
	
	A

A
	√

√

	B
	EC Declaration of conformance
	Ann II, V, VI
	Certificate(s)
	
	A
	√

	
	Notified body certification
	
	Certificate(s)
	
	A
	√

	
	Certification BS EN ISO 9001:2000
	
	Certificate(s)
	
	A
	√

	
	Certification ISO 13485:2003
	
	Certificate(s)
	
	A
	√

	
	Certification - Patent
	
	Trade Mark Certificate
	
	A
	√

	C
	Essential requirements
	Art 3
	Essential requirements 
	
	A
	√

	
	EN standards
	Ann II para 3.2c
	EN Standards
	
	A
	√

	D
	Classification rationale

Flow chart
	Ann IX 
	Classification rationale 

Device Classification rules
	
	A

A
	√

√

	
	EMC rationale
	
	EMC rationale 
	
	A
	√

	
	EMC report
	
	EMC report
	
	N/A
	--

	
	Safety Classification Rationale
	
	Rationale & BSI Classification
	
	A
	√

	E
	Risk analysis Class IIa Microstim
	Ann II para 3.2c
	Certificate(s)
	
	A
	√

	
	Reports
	
	Risk Management Definitions

Risk Analysis Report
	
	A

A
	√

√

	
	EN ISO 14971:2001 Annex  A
	
	EN ISO 14971:2001 Annex A
	
	A
	√

	
	EN ISO 14971:2001 Annex D
	
	EN ISO 14971:2001 Annex D
	
	A
	√

	F
	Description device 
	Ann II para 3.1
	Description of Device
	
	A
	√

	
	
	
	Viamed Microstim leaflets
	
	A
	√

	
	Accessories
	Ann II para 3.1
	Description of accessories
	
	A
	√

	
	Instructions 
	Ann I para 13
	User manual
	
	A
	√

	
	Labels
	Ann I para 13
	Labels 
	
	A
	√

	
	Information
	
	Training Document
	
	N/A
	--

	G
	Maintenance
	
	Service Manual

Service Procedures
	
	N/A

A
	--

√

	
	Product life
	Para 4.5
	Product life
	
	A
	√

	
	Product changes
	Ann II,V,VI para 3.4
	Product changes
	
	A
	√

	HI
	Analysis of complaints/user feedback
	Ann II, V, VI para 3.1

Art 15, Annexe X
	Customer complaints, user feedback & Clinical Trials

Product Reviews

Medical Device Alerts
	
	A

A

N/A

N/A
	√

√

--

--

	JK
	Location of responsibilities
	Ann II para 3.1
	Location of responsibilities
	
	A
	√

	
	Manufacturing route
	
	Manufacturing route
	
	A
	√

	
	Work instructions and tests
	VM3COP 36.01
	W.I. & Test Method

Tooling List

Operating Instructions
	
	A

N/A

A
	√

--

√

	
	Sub assemblies & circuit diagrams
	
	Electro-Technical Drawings
	
	A
	√

	L
	Literature reviews
	
	RDG

Fisher-Paykel

Anaesthesia Asscoiates

Bard Bio-medical

Others as shown in file
	
	A

A

A
A

A
	√

√

√

√

√

	M
	Packaging trials and validation
	
	Packaging Info

Pictorial Info
	
	A

A
	√

√

	N
	Quality Assurance
	VM3COP 36.01

VM3COP36.02


	Quality plan

    //         //

Test Instructions

QA Agreements
	
	A

A

N/A

A
	√

√

--

√

	O
	Sterilisation
	
	Sterilisation
	
	N/A
	√

	PQ
	Not Used
	
	---------
	
	--
	--

	R
	Components Breakdown
	
	Complete Parts List
	
	A
	√

	S
	Photographs
	
	Complete Unit & Accessories
	
	A
	√

	T
	Specifications of Materials
	
	Approach Database
	
	A
	√

	UV
	Purchase specifications
	
	Copy Purchase Orders
	
	A
	√

	WX 
	Archives
	
	List of Archived Documents
	
	A
	√

	YZ
	Design File 
	
	Contents

Design Documentation 
	
	A

A
	√

√


	Section.
	Description.
	Ref MDD

 / Ref ISO 9001.
	Document.
	Status.
	A/NA.
	Done.

	YZ
	Design File 
	
	Section Y – Design Input

Section Z – Design Output
	
	A

A
	

	Y (01)
	History & Theory
	
	Introduction – 

Device History & Theory

Design history
	
	A

A
	√

√

	Y (02)
	Specification 
	
	Device Specification, QC22

Specification Brief
	
	A

N/A
	√

--

	Y (03)
	Confidentiality Agreements
	
	By Company Name
	
	N/A
	--

	Y (04)
	Design Calculations
	
	Calculations Statement
	
	A
	√

	Y (05)
	Time Scale
	
	Statement
	
	A
	√

	Y (06)
	Design Compliance
	
	Compliance Statement
	
	A
	√

	Y (07)
	Project Progress
	
	Project Diary 

Design and Development Statement
	
	N/A

N/A

A
	--

--

√

	Y (08)
	Work logs
	
	Statement
	
	A
	√

	Y (09)
	Expenditure
	
	Statement
	
	A
	√

	Y (10)
	Preliminary drawings
	
	Sketches

Drawings
	
	N/A

A
	--

√

	Y (11)
	Final Drawings
	
	Final drawing input
	
	A
	√

	
	Working Drawings
	
	Final Viamed Drawings
	
	A
	√

	Y (12)
	Design Changes
	
	QC 28

Copy Change Details
	
	A

A
	√

√

	Y (13)
	Source codes
	
	Source codes
	
	A
	√

	Z (14)
	Validation
	
	Project Validation QC30
	
	A
	√

	Z (15)
	Design reviews
	
	Statement
	
	A
	√

	Z (16)
	Purchases
	
	Statement
	
	A
	√

	Z (17)
	Test reports
	Ann II para 3.2
	Statement
	
	A
	√

	Z (18)
	Final inspection & test
	
	Statement
	
	A
	√

	Z (19)
	Type examinations
	Ann V, VI
	Statement
	
	A
	√

	Z (20)
	EMC tests & results
	
	Statement
	
	A
	√

	Z (21)
	Bio-compatibility
	Ann II para 3.2c
	Statement
	
	A
	√

	Z (22)
	Compatibility Trials
	
	Statement
	
	A
	√

	Z (23)
	Documentation
	
	Checklist QC29
	
	A
	√

	
	
	
	
	
	
	

	
	
	
	
	
	
	


A. Index of Documentation_Blue-Ox
 04/04/2006
Page 2 of 2



[image: image1.jpg][image: image2.png]