[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]


2



Specification

	Requested by
	Vandagraph
	

	Name/Position
	J.S.Lamb
	

	Address
	
	

	Telephone number
	01535 634542
	

	Origination date
	Monday, January 20, 2003
	

	
	Description
	Specification
	Changes

	
	1
	
	Intended use
	
	

	
	2
	
	General specification
	
	

	
	
	1
	Height
	
	

	
	
	1.1
	Width
	
	

	
	
	1.2
	Depth
	
	

	
	
	1.3
	Weight
	
	

	
	3
	
	Power requirements
	
	

	
	
	1
	AC/DC
	DC
	

	
	
	1.1
	Voltage
	3v or 6v
	

	
	
	1.2
	Frequency
	N/A
	

	
	
	1.3
	Wattage normal
	
	

	
	
	1.4
	Wattage at switch on
	
	

	
	
	1.5
	Wattage in sleep mode
	
	

	
	
	2
	Battery specification
	Alkaline/ Metal Hydride/Lith
	

	
	
	2.1
	Battery life
	
	

	
	
	2.2
	Battery size
	
	

	
	
	2.3
	Battery type
	
	

	
	4
	
	Physical
	
	

	
	
	1
	Colour
	Black or Yellow/Green
	

	
	
	1.1
	Material
	ABS
	

	
	
	1.2
	Visual acuity
	1 metre
	

	
	
	1.3
	Mounting 
	N/A
	

	
	5
	
	Environmental
	
	

	
	
	1
	Operating Temperature
	
	

	
	
	1.1
	Storage temperature
	
	

	
	
	1.2
	Operating Aatitude
	
	

	
	
	1.3
	Storage altitude
	
	

	
	
	1.4
	Operating relative Humidity
	
	

	
	
	1.5
	Storage relative humidity
	
	

	
	
	1.6
	Waterproofing, spill resistance
	
	

	
	
	1.7
	Cleaning and disinfecting
	
	

	
	6
	
	Performance
	
	

	
	
	1
	Display
	LCD
	

	
	
	1.1
	Accuracy  
	+/- 0.1 %
	

	
	
	1.2
	Resolution
	+/- 0.1%
	

	
	
	1.3
	Useage continuous    Y/N
	Both options internally switched
	

	
	
	1.4
	Calibration
	Air & 100% Oxygen
	

	
	
	1.5
	User controls
	On/off: Calibration/ Continuous or 
	

	
	
	1.6
	Stability 
	Set by sensor
	

	
	
	1.7
	Response time
	Set by sensor
	

	
	
	1.8
	External conditions effecting accuracy
	Temperature, Pressure, Humidity ; Mainly by sensor
	

	
	7
	
	Accessories
	
	

	
	
	1
	Sampler
	
	

	
	
	2
	Sensor
	
	

	
	
	
	
	
	

	
	8
	
	Standards appropiate
	
	

	
	
	1
	IEC606.01
	
	

	
	
	1.1
	IEC 606-02
	
	

	
	
	1..
	IEC 601
	
	

	
	
	13
	MDD
	
	

	
	
	1.4
	FDA 510K
	
	

	
	
	1.5
	ASTM Americam society for testing materials
	
	

	
	
	1.6
	ISO 7767
	Y
	

	
	
	1.7
	ANSI American National Standards Institute
	?
	

	
	
	1.8
	CSA
	?
	

	
	
	1.9
	ISO 13485
	Y
	

	
	9
	
	Final Design tests required
	
	

	
	10
	
	Acceptance test crireia
	
	

	
	11
	
	Trial requirements
	
	

	
	
	1
	In-house
	
	

	
	
	1.1
	External
	
	

	
	12
	
	Maintenance
	
	

	
	13
	
	Packaging
	
	

	
	
	1
	Impact resistance
	
	

	
	
	1.1
	Vibration
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


W:\COMPANY\CEMARK\CE FILE (blank -word)\(P) specification.doc
J S Nirwan
Page 2
January 20, 2003

[image: image1.jpg][image: image2.png]