Design and Development Job Progress

Project:

Progress:



31/08/07

Third enclosure prototype.

Case shows signs of a ridge: to be removed in final mould.

Battery compartment : needs method of soldering without heat damage to enclosure

Can  another battery compartment without screws be made for medical version.

Cost required for adding EMC to plastic.









































































QC 25








QC 25 Job Progress Blue ox 070831.doc                 31/08/2007                  Page 2 of 2

