VANDAGRAPH

          O2 Sensors

Teledyne K1

Oxygen Sensor Test Procedure

VM3/COP/40.10
	Date: 5-Nov-03
	Revision Date: 17-Jul-06
	Issue: 1



	Method


1. Open the packaging and remove the O2 sensor.

2. Check the O2 sensor for damage and signs of leaking electrolyte.
3. Check output 7mV-13mV  

4. Re-label if appropriate.

5. Reseal in serial numbered packet, integrity seal the edge of the packet with initialed and dated sticker and re-box.

6. Ensure the O2 sensor is booked out in the stock books.










VM3COP40.10 K1 Oxygen Sensor 060717     7/17/2006
Page 1 of 1

