VANDAGRAPH
  COMPANY OPERATING PROCEDURE

Blu-Ox

Blu- Ox QA Progress

VM3/COP/42.02

Date: 01/02/08
Revision Date: 2-May-08
Issue 1




S/N of unit


S/N of  PCB or Batch


S/N Oxygen Sensor


PCB Version


S/W version


Special Software


Stage 
Process

Int.
Date

1
Check plastic parts for rough edges




2
Check for blemishes on outer surfaces




3
Unit functional test




4
Check alignment of LCD




5
Ensure Plastic PCD film is removed




5
Ensure LCD is dust free




7
Before final enclosure assembly CHECK unit is  siliconed





After final assembly unit functional check





Correct software





Correct Title message




8
Correct switch
Yellow





Green



10
 Calibration 20.9




11
Calibration 100%




12
Correct accessories correct box label
Sensor S/N





Quick0Ox





DIN KIT





Standard box





Otter Extreme 9000





Key ring





Lanyard



13
Correct user guides




VM3COP42.02  Blu=OX QA sheet.doc       02/05/2008      Page 1 of 1

