	VANDAGRAPH
  COMPANY OPERATING PROCEDURE

	Oxygen Sensor manufacture

	Modification of Sensors Master

VM3/COP/40.30

	Date: 30-Sep-03
	Revision Date: 17-Jul-06
	Issue 1

	Only to be attempted by trained personel





	Parts Required

	Quantity
	Description
	Part No.
	

	1
	Xxxx  Sensor
	
	

	1
	White Box & Lid
	
	

	1
	
	
	

	1
	Red wire 1 cm
	
	

	1
	Black wire 1 cm
	
	

	1
	Packing Material
	
	

	1
	Round “Vandagraph” Label
	
	

	2
	Serial number Labels
	
	

	1
	Serial number Label for Outer bag
	
	

	1
	Polythene Bag (outer)
	
	

	
	
	
	


Procedure

1. Remove the XXXXX Sensor from the Gas barrier bag, 
[image: image1.jpg]


Warning  Use Soldering Iron set at 300C Do Not overheat the PCB on the Sensor

[image: image2.jpg]


[image: image3.jpg]


[image: image4.jpg]


[image: image5.jpg]



VM3COP40.30 Sensor manufacture Master       17/07/2006      Page 1 of 1

