	     [image: image5.png]



	VIAMED
	
	Viamed Limited 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



Finger Oximeters Comparison Chart

	[image: image1.png]



	[image: image2.png]



	[image: image3.png]



	[image: image4.jpg]




	MD300-C

(MD300-C1)
	MD300-D

(MD300-C2)
	MD300-C5
	VM-2101


Standard features of all our Finger Oximeters include:

· Digital value of SpO2 and pulse rate

· Low battery indicator

· Low power consumption

· Automatic power off when finger is removed

	Specification
	MD300-C
	MD300-D
	MD300-C5
	VM-2101

	Patient Types

Adult

Paediatric
	(
	(
	(
	(
(

	Unit Dimensions

L x W x H (mm)
	58 x 32 x 34
	58 x 32 x 35
	50 x 29 x 28
	57 x 33 x 27

	Weight (including batteries)
	52 g
	56 g 
	48 g
	50 g

	Display Type

LED

Colour OLED
	(
	(
	(
	(

	Display Features

Display size 

Rotating display

Pleth waveform

Pleth waveform height (max)

Large digit format

Digit height (max) 

Adjustable brightness
	17 mm x 21 mm

8 mm


	13 mm x 24 mm

(
(
2.5 mm

(
8.75 mm

(
	12 mm x 24 mm

(
(
2.5 mm

(
8.75 mm

(
	20 mm x 26 mm

(      

( (two rotations)

10 mm

(
10 mm

(

	Digit Colour

SpO2
Pulse Rate
	Red

Red 
	Blue

Blue
	Blue

Blue
	Green

Yellow

	Signal Strength Indicator
	Bar graph
	Bar graph
	Bar graph
	Colour coded

bar graph

	Signal Quality Indicator
	None
	None
	None
	

	Finger Pad Material
	Silicone
	Silicone
	Plastic
	Silicone

	Accuracy 

70 – 100%

70 – 79 %

80 – 100 %
	+/- 3%

+/- 2%
	+/- 3%

+/- 2%
	+/- 3%

+/- 2%
	+/- 2%

+/- 2%

+/- 2%

	Processing

16 bit processing

Low perfusion capabilities

Fast ‘true reading’ response
	
	
	
	(
(
(

	ISO 9919:2005 Standards…

Shock Test

Vibration Test

Drop Test

Water Ingress Protection IPX2

EMC. IEC 60601-1-2 
	(
(
(

	(
(
(
	(
(
(
	(
(
(
(
(


[image: image6.jpg]VIAMED




Part No. 0092180                     Date: 08/08


[image: image5.png][image: image6.jpg]