VIAMED

PIPPA

Packaging of Pippa Kit – Pt No. 1650009

VM3/COP/46.04

Date: 06 August 2003
Revision Date: 19 August 2003
Issue: 1


      [image: image1.jpg]gﬂmathing
B, o





	Quantity
	Description
	Part Number

	
	
	

	1
	PIPPA Breathing Monitor
	1610100

	1
	Monitor to Sensor Cable
	1610200

	1 Pack
	“AA” Alkaline Batteries
	1650000

	1
	Carrying Case
	1620010

	1
	Instruction Booklet
	1690000

	
	
	

	
	
	

	1
	Pack of “5” Universal Sensors
	1650010

	1
	Pack of “5” Masks / Integrated Sensors
	1650050

	
	
	

	
	
	

	1
	Sales Leaflet
	

	1
	Customer Surveillance Card
	


-----------------------------------------------------------------------------------------------------------------

The PIPPA is sold as a Kit
1 Insert the Batteries and check the PIPPA works

2 Remove the Batteries

3 Insert the PIPPA back into its protective bag & then into the Box

The Whole Kit comprises of:

In the Box

1 PIPPA Instrument




1610100

1 Monitor to Sensor Cable



1610200

1 Packet of “2” AA Alkaline batteries

1650000

1 Carrying Case




1620010

1 Instruction Booklet



1690000

In a Separate package

1 Pack of “5” Universal Sensors


1650010

1 Pack of “5” Masks / Integrated Sensors

1650050

1 Customer Surveillance Card

1 Sales Leaflet

[image: image2.jpg]





[image: image3.jpg]O PIPPA
@i@ Breathing Monitor c €
C_ﬁ]d Single Use Sensor 0086
( MDJJ:N;LI td

Part no: 1650009





Additional:

1
Packets of “50” Universal Sensors (boxed)
1650011

-----------------------------------------------------------------------------------------------------------------

The PIPPA is packed in three stages

Universal Sensor





[image: image4.jpg]= PIPPA -
‘ Breathing Monitor CE

| Single Use Sensor|

3-A-1 —_—

{





These sensors should be packed

In packets of 5 off in a polythene bag

And labelled as per VM3/COP/49.02







CONTENTS

5 Universal Sensors for PIPPA Breathing Monitor







Single use Device






Re-order code

1650010

NB Packs of 5 Sensors are supplied with each PIPPA

Also

Packets of 50 off are supplied in a new appropriate sized cardboard box

And labelled as per VM3/COP/49.2







CONTENTS





50 Universal Sensors for PIPPA Breathing Monitor







Single use Device






Re-order code

1650011

Masks from Venticare Code 032-10-001

[image: image5.jpg]



Sold with PIPPA units only

And labelled as per VM3/COP/49.01







CONTENTS





1 Mask Sensor for PIPPA Breathing Monitor







Single use Device






Stock number

1650050
Pack of 5






Re-order code

1650051
Pack of 50

Packs of 5 Mask Sensors are supplied with each PIPPA in a polythene bag







CONTENTS

5 Mask sensors for PIPPA Breathing Monitor







Single use Device






Re-order code

1650050

Packs of 50 off are supplied in a new appropriate sized cardboard box

And labelled as per VM3/COP/49.01







CONTENTS





50 Mask Sensors for PIPPA Breathing Monitor







Single use Device






Re-order code

1650051

Page 4 of 4

