Re-work Risk  Analysuis  


Product:  Microstim DBS III



Can the product be impaired by re-work 


Y



Mechanical

Y
N

Damage to plastic enclosure whilst dismantling

Metal Fatigue
Y
N



Visible damage to product
Y




Bends
Y
N



Dents
Y
N



Scratches
Y



Electrical

Y


Repair to PCB & component replacement

Visible joints

N



Dry joints
Y




Added components

N



Piggy back components

N


Heat


N



Visible scorch marks

N

Components on PCB

Damage to heat sensitive components
Y




Insulation shrinkage



Will re-work shorten product life



N







Will re-work reduce specification



N







Will re-work reduce any safety factors



N

Compiled by 





