Re-work Risk  Analysuis  Report 


Product:  Mixcheck



Can the product be impaired by re-work 


Y



Mechanical

Y
N

The screws on the front panel can damage the threads.The front panel can be scratched and dented

Metal Fatigue
Y




Visible damage to product
Y




Bends
Y
N



Dents
Y




Scratches
Y



Electrical

Y
N



Visible joints

N



Dry joints
Y




Added components

N



Piggy back components

N


Heat


N



Visible scorch marks

N



Damage to heat sensitive components
Y




Insulation shrinkage



Will re-work shorten product life



N







Will re-work reduce specification



N







Will re-work reduce any safety factors



N

Compiled by 
JSL
09/04/08



