VANDAGRAPH
  COMPANY OPERATING PROCEDURE

Blu-OxQA Progress    VM3/COP/42.02

Date:01/02/08
Revision Date: 17-Sep-08
Issue 2


S/N of unit


S/N of  PCB or Batch


S/N Oxygen Sensor


PCB Version


S/W version


Special Software


Stage 
Process

Int.
Date

1
Check plastic parts for rough edges




2
Check for blemishes on outer surfaces




3
Unit functional test




4
Check Calibration direction




5
Check sensor reads 




5
Check inside enclosure battery terminals and Jack plug nuts are sealed




7
Check Calibration knob screw has  loc-tite applied




8
Check alignment of LCD




10
Ensure Plastic PCD film is removed




11
Ensure LCD is dust free




12
Before final enclosure assembly CHECK unit is  siliconed




13
Check Lugs on front panel




14
Ensure front panel is screwed to enclosure




15
Check front gasket is in place




16
Check extra window is in place




17
Before assembling batteries and sensor check the unit is watertight ( blow into enclosure




18
Check battery terminals are cleaned




19
Ckeck battery cover gasket is in place




20
After final assembly unit functional check




21
Correct software




10
Correct Title message




11
Correct switch
Yellow





Green




 Calibration 20.9





Calibration 100%





Check alignment of all labels




12
Correct accessories correct box label
Sensor S/N





Quick0Ox





DIN KIT





Standard box





Otter Extreme 9000





Key ring





Lanyard



13
Correct user guides




Tek Ox QA.doc       17/09/2008      Page 2 of 2

