VIAMED

OXYGEN HOOD

Q.A. - Packing Checklist Procedure

VM3/COP/52.01

	Date: 29-Sep-03
	Revision Date:18-Jan-05
	Issue: 1



1. Unpack the Oxygen Hood from its original packing, and check that:

a. The product is the correct item

b. The product is the correct size:

i)
PP8000 Neonatal Oxygen Hood 
H = 150mm
W = 200mm
L = 165mm

ii)
PP8050 Paediatric Oxygen Hood
H = 185mm
W = 250mm
L = 240mm

iii)
PPBOGO Infant Oxygen Hood
H = 230mm
W = 300mm
L = 290mm

[image: image1.jpg]



2. Check the product to ensure that there are no sharp edges.

3. Check that there are no scratches on the product.

4. Check the neck aperture and the door to ensure that there are no sharp edges.

5. Tighten the neck door screws.

6. Add the appropriate labels.

7. Add the insert leaflet

8. Clean the product and repack.

9. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.










Page 1 of 1

