VIAMED

Cot Lids

Q.A. - Packing Checklist Procedure

VM3/COP/52.02

	Date: 29-Sep-03
	Revision Date:24-Jan-05
	Issue: 1



1. Unpack the Cot Lid from its original packing, and check that:

a. The product is the correct item

b. The product is the correct configuration:

i)
PP8115
Standard cot lid

ii)
With Ventilation slot

iii)
With Adjustable slide

[image: image1.jpg]



2. Check the product to ensure that there are no sharp edges.

3. Check that there are no scratches on the product.

4. Check the Lid-Hinge area to ensure that there are no sharp edges.

5. Tighten the Lid Hinge screws.

6. Add the appropriate labels.

7. Add the insert leaflet

8. Clean the product and repack.

9. Ensure that there is an adequate amount of packaging material around the product prior to taping up the box.










Page 1 of 1

