[image: image1.jpg]ARAB HEALTH
2002

Summary of products

Pulse Oximetry Sensors Viamed  Dolphin  Aristo
Finger sensors v v v
Multi-site 'Y’ sensors v v v
Ear sensors v
Extension cables v v v
Adapter cables v v v
D.O.T. Sensors v
Wrap sensors v
Disposables v v ~

Pulse oximetry sensor repair services
Pulse oximeters - Stand alone, hand held, compact PC
Pulse oximetry simulators and testers

Oxygen sensors
Oxygen monitors and analysers

Oxygen hoods
Patient monitors
Infant resuscitation cabinets

Infant resuscitators
Radiant warmers

Phototherapy masks
Phototherapy light shields

ECG cables

Temperature probes

Supra-maximal nerve stimulator

Chart & recorder paper [
VIARMED

Imail infeid




[image: image2.png]



Microstim DB3
 CE File


DEVICE CLASSIFICATION

Taken From Annex IX MDD 93/42/EEC

Classification Criteria

Duration



Transient:Normally intended for continuous use for less than 60 minutes.
Y


Short term:Normally intended for continuous use for not more than 30 days.

N

Long term:Normally intended for continuous use for more than 30 days.

N

Active medical device  Rule 10 ;The Microstim DB3 transmits electrical energy to the patient
Y


Non-invasive device
Y


Invasive device

N

Implantable device

N

Reusable surgical instrument

N

Active therapeutical device

N

Active device for diagnosis

N

Implementing the rules

1. Application of the classification rules shall be governed by the intended purpose of the devices.

2. If the device is intended to be used in combination with another device, the classification rules shall apply separately to each of the devices.  Accessories are classified in their own right separately from the device with which they are used.

3. Software, which drives a device or influences the use of a device, falls automatically in the same class.

4. If the device is not intended to be used solely or principally in a specific part of the body, it must be considered and classified on the basis of the most critical specified use.

5. If several rules apply to the same device, based on the performance specified for the device by the manufacturer, the strictest rules resulting in the higher classification shall apply.

III.  CLASSIFICATION

The device is classified as Class IIa

CMDR DEVICE CLASSIFICATION

Taken From  Health Canada MDA Schedule 1

Invasive Devices

N
Rule
Classification

Active Device
Y

Rule 9
Classification

Special Rules

N
Rule
Classification

In Vitro Diagnostic Device

N
Rule
Classification

Other Uses

N
Rule
Classification

Special Rules

N
Rule
Classification

The device is classified as Class II

Classified J.S Lamb  05/09/08

C:\Documents and Settings\User\Local Settings\Temporary Internet Files\Content.IE5\ZY9R2X5D\4576[1].doc
J S Nirwan
Page 1
07/10/2008

[image: image1.jpg][image: image2.png]