[image: image1.png]


 

                                     Nufer Radiant Warmer

	COMPANY OPERATING PROCEDURES


Nufer Radiant Warmer Parts Checklist

(0310040) – Mobile Stand 

VM3/COP/53.02
	Date:
  24-Jan-03
	Revision date: 15-Aug-03
	Issue:   3



Parts Checklist:

Note: 
This document should be contained with every heater unit to ensure all parts are present before dispatch.
	Item.
	Details.
	Serial No.
	Initials.

	
	
	
	

	Radiant warmer.
	Finished off white.
	
	

	Base unit.
	Finished off white:

(2 x lockable castors, 1 x free wheeling castor).
	N/A
	            

	Lower upright.
	Finished off white:

(4 x securing nuts, 4 x sprung washers, 

1 x hex drive bolt, 1 x locking knob).
	N/A
	            

	Upper upright.
	Finished stainless steel:

(Cap, sprung washer, flat washer & hex drive bolt).

Horizontal arm.

Locking pin mechanism:

(Ceramic knob, shaft, pin).
	N/A

N/A

N/A
	            

	Miscellaneous.
	1 x Operators Manual.

1 x Servicing Manual.

1 x Information Leaflet.

1 x Safety Test Certificate.

Horizontal arm to heater adapter: 

(cap, sprung washer, flat washer, hex drive retaining bolt, 4 x M6 hex drive bolts).

1 x Horizontal bar: 

(2 x bar ends with threaded center portion).

1 x cable tidy bracket:

(2 x M3 hex drive bolts).

3m mains cable with UK moulded plug.

3 x P clips.

3 x M3 hex drive bolts.
	N/A

N/A

N/A

N/A

N/A

N/A

N/A

N/A

N/A

N/A
	  

















Page 1 of 1

[image: image1.png]