VOP

Viamed Operating sub Process

Company Documentation 

Created:
27/03/06
VOP 01
Issue 1

Revised:
14 October 2008
Last printed 3/28/2006 10:19:00 AM
Page 5 of 5

Charts 01, 10 & Interfaces


DOCUMENTATION

The purpose of this document is to describe the system in use at the company in order to ensure that all significant documents are subject to control, and that only correct issues of relevant documents are available and in use. Viamed Operating Procedures are binding instructions, and all members of staff are required to conform to the requirements therein.

The requirement for new Procedures, or changes to procedures can originate from any person within the company. These requirements will be discussed and agreed by management before processing.

It is the responsibility of the Managing Director, or a person appointed by him e.g. the Quality Manager and/or Technical Engineer, to ensure the origination, upkeep, revision, control and authorisation of documentation, including technical documents, work instructions, specifications, records and forms and procedures.

Documents such as procedures, instructions, specifications etc. are retained as “Word” documents, Autocad & PCB documents, and are also stored electronically  (Read Only) therefore making them available to all personnel, for information purposes. All other relevant documentation, such as international standards and technical literature is retained in the Company’s library and can be withdrawn by authorised personnel only. This withdrawal must be signed for, using a tracer file.

DOCUMENT CHANGE / AMENDMENT

All essential documents contain a change / revision facility. This is controlled by date revised and last date printed. Printed is either electronic or hard copy. Departmental heads are responsible for ensuring prompt removal of obsolete documents from all points of use. After many revisions, a document may be fully Re-Issued as the next number status.

Where significant changes have been made to a Company document / management system e.g. new or major modifications to procedures or a reduction in quality surveillance, or to such as the Design / CE Files, then the appropriate Notified Body(s) will be informed in writing, with copies of the changes where required.

It is the responsibility of the originator of any change order to ensure that documents becoming obsolete are promptly destroyed or returned for filing.

After the retention period (as defined in the document register) has expired, the documents will be archived, in various locations, or destroyed, depending on the nature of the document. The Managing Director will take this decision.

TECHNICAL DOCUMENTATION

When engineering drawings and / or specifications are created for manufacturing purposes, the documents will be authorised by signature on the final draft copy, and computer initialled on the final master copy, as verification of current issue. This authorisation will be vested in a senior person responsible for technical matters. These documents will be controlled in the same manner as previously stated above.

Manufacturers manuals and technical data sheets, British and International standards, together with any regulatory guidance documents are maintained in the library for reference purposes. Where applicable, these documents are also stored electronically (old versions are not removed).

All relevant Standards are filed and indexed in a master standards file in numerical order and are maintained up to date annually by reference to the BS guide.

Quality records are identifiable to the product and the responsibility for records, how they are filed and their retention periods are set out in the Document Register.

A network is installed and the central File server holds a master copy of the most used files, which require shard access. All centrally held files are backed up routinely and copied to CD-ROM by the IT Director.

All CE & Design files are maintained by the Technical engineer and are also available for viewing electronically.. These files are backed up on CD-ROM.

All documents are being entered systematically into the Viamed Intrastat system which is intende to replace the existing Paper and electronic systems

DOCUMENT REGISTER

Form No
Title
Responsibility
Location
Retention


Withdrawn


QC 01
Duplicate Order Book
Office Staff
General Office
1 Year



QC 02
Stock Record
Office Staff
General Office
On-going



QC 03
Invoice
Office Staff
General Office
On-going



QC 04
Purchase Order
Office Staff
General Office
11 Years



QC 05
Investigation Report
Regulatory Affairs
Quality Office
11 Years



QC 06
Supplier Questionnaire
Regulatory Affairs
Quality Office
On-going
12/10/2004


QC 07
Training Requirements
Regulatory Affairs
Quality Office
On-going



QC 08
G.R.N.
Stock Controller
Stores
11 Years



QC 09
S.R.N.
Office Staff
General Office
On-going



QC 10
Electrical Safety Test
Technical Engineer
Design Office
On-going



QC 11
Customer Complaint Index
Regulatory Affairs
Quality Office
11 Years



QC 12
Customer Complaint Form
Regulatory Affairs
Quality Office
11 Years



QC 13
Certificate of Conformity
Regulatory Affairs
Quality Office
On-going



QC 14
Calibration Register
Technical Engineer
Design Office
On-going



QC 15
Calibration Record
Technical Engineer
Design Office
On-going



QC 16
Training Record
M.D.
Quality Office
On-going



QC 17
Internal Audit Checklist
Regulatory Affairs
Quality Office
3 Years



QC 18
Internal Audit Report
Regulatory Affairs
Quality Office
3 Years



QC 19
Stock Transfer Note
Stock Controller
General Office
11 Years



QC 20
Document Update
Quality Engineer
Library
On-going
12/10/2004


QC 21
Non-conformance / Withdrawal
Technical Engineer
Design Office
3 Years



QC 22
Job Description & Spec
Technical Engineer
Design Office
On-going
12/10/2004


QC 23
Estimated Timescales
Technical Engineer
Design Office
On-going
12/10/2004


QC 24
Design Review
Technical Engineer
Design Office
On-going
12/10/2004


QC 25
Progress Plan
Technical Engineer
Design Office
On-going
12/10/2004


QC 26
Work Log
Technical Engineer
Design Office
On-going
12/10/2004


QC 27
Purchases
Technical Engineer
Design Office
On-going
12/10/2004


QC 28
Post Design Changes
Regulatory Affairs
CE Library
On-going



QC 29
Documentation Checklist
Regulatory Affairs
CE Library
On-going



QC 30
Project Validation
Regulatory Affairs
CE Library
On-going



QC 31
Daily Repair Log
Production Engineer
Production
3 Years



QC 32
Daily Production Log
Production Engineer
Production
3 Years



QC 33
Tom Thumb Test Sheets
Mech. Engineer
Quality Office
On-going



VOP 1-18
Viamed Operating sub processes
Owner





VOP 01
Company Documentation
Quality

On-going



VOP01.01 
Procedure Checking & Revision
Quality

On-going



VOP 02
Responsibilities
Directors

On-going



VOP 03
Office Process

Sales

On-going



VOP 04
Vigilance
Sales

On-going



VOP 05
Supplier Control
Directors

On-going



VOP 06
Measurement Control
Production

On-going



VOP 07
Stock Control.
Production

On-going



VOP 08
Production
Production

On-going



VOP 09
Repairs
Production

On-going



VOP 10
Corrective & Preventive Actions
Quality

On-going



VOP 11
Equipment Control
Technical

On-going



VOP 12
Human Resources
Directors

On-going



VOP 13
Process monitoring
Quality

On-going



VOP 14
Servicing

Sales

On-going



VOP 15
Data & Information Analysis
Quality

On-going



VOP 16
Health & Safety

Quality

On-going



VOP 17
Design & Development
Technical

On-going



VOP 18
Maintenance & Environment
Directors

On-going



Procedure No
Title
Form No
Form Title
Retention 
Withdrawn


VM/COP/01  
Amendment Control






VM/COP/02
Organisation and Responsibilities






VM/COP/03
Enquiries/Orders/Contract Review
QC01
Telephone Order
On-going





QC03 
Invoice/Despatch Note Set
11 Years



VM/COP/04
Purchasing
QC04
Purchase Order
11 Years





QC05
Purchase Order (Specialist Suppl)
On-going



VM/COP/04
Purchasing
QC04
Purchase Order






QC05
Purchase Order (Specialist Suppl)






QC 06
Supplier Questionaire






QC07
Register of Approved Suppliers




VM/COP/05
Receipt of Goods - Quality Assurance
QC02
Stock Record




VM/COP/06
Rejected Goods - Vendor Quality Control. Preventative Action
QC08
Goods Return Note




VM/COP/07
Handling, Storage and Stock Control
QC19
Stock Transfer Note




VM/COP/08
Process Control - Picking, Packing,
QC03
Invoice/Despatch Note Set
On-going




Despatch and Installation
QC13
Certificate of Conformity
On-going



VM/COP/09
Repairs
QC09
Service Repair Note (SRN)
On-going





QC10
Electrical Safety Test Record
On-going





QC10b
Computer generated





Maintenance of Service & production Equipment






VM/COP/10
Customer Complaints & Withdrawal of product
QC11
Customer Complaint Index





Suspect Product
QC12
Customer Complaint Report





Incident Reporting
App 3
MDD Incident Form




VM/COP/11
Calibration Equipment
QC14
Register of Calibrated






QC15
Calibration Record Card




VM/COP/12
Training
QC16
Training Record Card



VM/COP/13
System Audits and Reviews
QC17
System Audit Programme



VM/COP/13
System Audits and Reviews
QC18
Non Conformance



M/COP/14
Documentation, Records and Computer backup
QC20
Documentation Update



VM/COP/15
Price Updating





VM/COP/16
Design & Design construction
QC22
Job Description & Specification





QC23
Project Time scales





QC24
Design Review  





QC25
Job Progress





QC26
Work Logs





QC27
Purchases





QC28
Design Changes





QC29
Documentation Check List  Check 





QC30
Project Validation





QC23
Project Time scales





QC24
Design Review  





QC25
Job Progress





QC26
Work Logs





QC27
Purchases





QC28
Design Changes





QC29
Documentation Check List  





QC30
Project Validation



Procedure 
Product
Pt No
Stk



VM3/COP/31.11
Criticare D-Type





VM3/COP/31.12
Critikon





VM3/COP/31.13
Critikon Dynamap+





VM3/COP/31.17
Datex 3





VM3/COP/31.18
Datascope





VM3/COP/31.25
Critikon/Sensormedics/Thorkom





VM3/COP/31.40
Invivo





VM3/COP/31.45
Kontron





VM3/COP/31.50
Nellcor





VM3/COP/31.54
Nonin





VM3/COP/31.55
Novametrix





VM3/COP/31.70
Ohmeda





VM3/COP/31.75
Pacetec





VM3/COP/31.80
S & W






VM3/COP/31.85
Simed






VM3/COP/31.86
Simed V2






VM3/COP/32
Finger Probe Assembly Instructions SpO2   






VM3/COP/32.01
Medlab Comdek
P854RA





VM3/COP/32.02
BCI
P855RA





VM3/COP/32.03
 Nellcor
 P856RA
18580




VM3/COP/32.04
 Spacelabs
 P857RA
18570




VM3/COP/32.05
 Nellcor
 P858RA 
18580




VM3/COP/32.06
Pace Tech
 P859RA
18590




VM3/COP/32.07
 Simed,Baxter
 P86ORA
18600




VM3/COP/32.08
 BCI
 P86IRA
18610




VM3/COP/32.09
 Criticare
 P862RA
18620




VM3/COP/32.10
 Datascope
 P863 RA
18630




VM3/COP/32.11
 Datascope
 P864RA
18640




VM3/COP/32.12
 Sensormedics
 P865RA 
18650




VM3/COP/32.13
 Simed Baxter
  P866RA
18660P




VM3/COP/32.14
Ohmeda
  P867RA 
18670




VM3/COP/32.15
 Criticare
  P869RA
186901




VM3/COP/32.16
  Nonin
  P871RA 
187101




VM3/COP/32.17
  Datex
  P872RA
18720




VM3/COP/32.18
  Datex
  P873 RA
18730




VM3/COP/32.19
 Palco
  P874RA





VM3/COP/32.20
  Novametrix
 P875RA
18750




VM3/COP/32.21
  Novametrix
 P876RA
187601




VM3/COP/32.22
  Critikon
 P877RA 
18770




VM3/COP/32.23
  Invivo
 P878RA
18780




VM3/COP/32.24
Artema
P879RA





VM3/COP/32.25
Novametrix
P885RA





VM3/COP/32.26
 Kontron
 P886RA 
18860




VM3/COP/32.27
 Spacelabs
 P887RA
18870




VM3/COP/32.28
 S & W
 P888RA 
18880




VM3/COP/32.29
 Criticare
 P889RA
18890




VM3/COP/32.30
 Critikon
 P89ORA
18,900




VM3/COP/32.31
Critikon
 P891 RA
18,910




VM3/COP/32.31
Marquette
P892RA





VM3/COP/32.33
Hewlett Packard
P895RA





VM3/COP/32.34
S&W
P896RA





VM3/COP/33
Extension cables






VM3/COP/34
Temperature probes






VM3/COP/35
“Y” Probe Procedures







VM3/COP/36
Microstim Procedures






VM3/COP/37
Oxygen Sensors Procedures






VM3/COP/38
Oxygen Analysers Procedures






VM3/COP/39
Oxygen Sensor Holder Procedures







VM3/COP/40
Vandagraph Procedures






VM3/COP/43
ECG Monitors Procedures






VM3/COP/45
DL3000






VM3/COP/46
Pippa Procedures







VM3/COP/47
Apgar Timer Procedures






VM3/COP/48
NIBP Calibration Procedures






VM3/COP/49
Defibrillators Procedures






VM3COP50
Tom Thumb






VM3COP51
Resuscitation cabinet






VM3COP52
Headboxes






VM3/COP/53
Nufer Procedures







VM3/COP/54
Mixcheq Procedures






VM3/COP/56
Foetal Heart Procedures














VM3COP99
Qa Individual Products






221%5B1%5D.doc
14/10/2008 
Page 5 of 5

