[image: image1.png]


 

                                     Nufer Radiant Warmer

	COMPANY OPERATING PROCEDURES


Nufer Radiant Warmer Parts Checklist

(0310025) – Wall Mounted 

VM3/COP/53.04
	Date:
  24-Jan-03
	Revision date: 19-Aug-04
	Issue:   3



Parts Checklist:

Note: 
This document should be contained with every heater unit to ensure all parts are present before dispatch.
	Item.
	Details.
	Serial No.
	Initials.

	
	
	
	

	Radiant warmer.


	Finished off white.
	
	

	Wandarm.
	Finished off white:

(2m mains cable with UK moulded plug).
	
	

	Wall mount.
	Finished off white: 

(2 x wall bolts).
	N/A
	

	Radiant warmer to Wandarm adapter.
	Finished stainless steel:

(4 x hex bolts).
	N/A
	

	Miscellaneous.
	1 x Operators Manual. 

1 x Servicing Manual. 

1 x Information Leaflet.

1 x Safety Test Certificate.
	N/A

N/A

N/A

N/A
	

















Page 1 of 1

[image: image1.png]