Microstim Testing and QA





Microstims DB's are supplied to Viamed fully assembled and Tested,








Ensure there is no physical damage to the unit or marks to labels.





Follow the Operating Instructions Microstim DB3 Tester as Found in the Document Index.





Disconnect the Microstim, Remove the battery and refit the battery cover.


          


COMPANY OPERATING PROCEDURES�
�
Microstim Testing and QA�
�
Created:�
22/01/03�
VM3/COP/99.00�
�
3�
�
Revised:�
�
Last printed � DATE \@"DD\ MMMM\ YYYY" �10 December 2008��
Page � PAGE �1� of � NUMPAGES \*Arabic �1��
�






� FILENAME �vm3cop99.doc�	� DATE \@"DD\/MM\/YYYY" �10/12/2008�	Page � PAGE �1� of � NUMPAGES \*Arabic �1�











