[image: image1.png]510(k) Elements List

510(k) Elements Authority Included in
, (21 CFR) Cover Sheet?

1.

Device trade or proprietary name 807.87 yes

2.

Device common or usual name or classification 807.87 yes

3.

Establishment registration number (only applies if establishment | 807.87 Firm no, Mfg. yes

is registered)

4.

Class in which the device has been put under section 513 of the act | 807.87 yes

and, if known the appropriate panel; or if the owner or operator

determines that the device has not been classified under such

section, a statement of that determination and the basis for the

person’s determination that the device is not so classified.

5.

Action taken by the party required to register to comply with the 807.87 N/A

requirements of the act under section 514 for special controls.

6.

Proposed labels, labeling, and advertisements sufficient to 807.87 yes

describe the device, its intended use, and the directions for its use.

(Blue Book Memo #G91-1)

7.

510(k) summary or a 510(k) statement. 807.87 (h) Summary

8.

For class III only, a class III certification and a class IIl summary. | 807.87( i) no

9.

Photographs of the device. 807.87 yes

10.

Engineering drawing of the device. 807.87 yes

11.

Identification of the marketed device(s) to which equivalence is 807.87 yes

claimed including labeling and description of the device. Affiliated

510(k) numbers and product codes are voluntary in cover sheet.

12.

Statement of similarities and/or differences with marketed 807.87 yes

device(s).

13.

Data to show consequences and effects of a modified device. 807.87 N/A

14.

Submitter’s name and address. 807.87 yes

15.

Contact person, telephone number and fax number. 807.87 yes

16. : '

Representative/Consultant if applicable. 807.87 N/A

17.

Table of Contents. 807.87 yes

1of 2





[image: image2.png]510(k) Elements List

510(k) Elements Authority Included in
(21 CFR) Cover Sheet?

18.

Name and address of manufacturing/packaging/sterilization 807.87 yes

facilities. Registration number of each facility when one exists.

19.

Comparison table of the new device to the marketed device(s). 807.87 yes

20.

Action taken to comply with voluntary standards. 807.87 yes
FDA discretion

21.

Performance data (bench, animal, clinical). 807.87 yes
FDA discretion

22.

Sterilization information (Blue Book Memo #K90-1). 807.87 N/A
FDA discretion

23.

Software information (Blue Book Memo #K91-1). 807.87 yes
FDA discretion

24.

Hardware information. 807.87 yes
FDA discretion

25.

Information requested in specific guidance documents Gf 807.87 yes

applicable for this device). FDA discretion

26.

Kit Certification Statement 807.87 N/A

(for kit submission only). FDA discretion

217.

Trathful and Accurate Statement. 807.87 () yes

20of 2





