OXYGEN

REPLENISHMENT CHECKLIST

AT ALL TIMES THERE MUST BE “SIX” CYLINDERS AVAILABLE, WITH “ONE” AT A TIME IN USE.

THERE SHOULD BE “TWO” ON THE BANK WITH  “ONE” IN USE. WHEN THE BANK IS SWITCHED BETWEEN CYLINDERS, THE EMPTY BOTTLE MUST BE EXCHANGED WITH A FULL ONE.

THERE SHOULD BE “TWO” SPARE BOTTLES, “ONE” OF WHICH MAY HAVE BEEN USED.

THERE SHOULD BE “TWO” BOTTLES IN RESERVE. THESE SHOULD NEVER BE USED UNLESS THERE IS A WEEK OF INTENSE OXYGEN USE.

i.e. When you order, there should be “Four” full cylinders (including the “Two” in reserve)

IF YOU USE OXYGEN AND YOU CHANGE A CYLINDER, YOU ARE RESPONSIBLE FOR ENSURING THAT FRESH CYLINDERS ARE AVAILABLE, AND IF NOT, YOU MUST RE-ORDER
NOTE:

· FULL CYLINDERS MUST HAVE THE SEAL INTACT.

· EMPTY, OR IN-USE CYLINDERS MUST HAVE THE SEAL COMLETELY REMOVED.

