	      
	· VIAMED
	
	Viamed Limited 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



Finger Oximeters Comparison Chart

	[image: image1.png]



	[image: image2.png]



	[image: image3.png]



	[image: image4.jpg]



	[image: image5.jpg]




	MD300-C

(MD300-C1)
	MD300-D

(MD300-C2)
	MD300-C5
	VM-2101
	VM-2105*
* Also available in grey.


Standard features of all our Finger Oximeters include:

· Digital value of SpO2 and pulse rate

· Low battery indicator

· Low power consumption

· Automatic power off when removed from the finger
	Specification
	MD300-C
	MD300-D
	MD300-C5
	VM-2101
	VM-2105

	Patient Types

Adult

Paediatric
	(
	(
	(
	(
(
	(
(

	Unit Dimensions

L x W x H (mm)
	58 x 32 x 34
	58 x 32 x 35
	50 x 29 x 28
	57 x 33 x 27
	65 x 50 x 34

	Weight (including batteries)
	52 g
	56 g 
	48 g
	50 g
	58 g

	Display Type

LED

Colour OLED
	(
	(
	(
	(
	(

	Display Features

Display size 

Rotating display

Pleth waveform

Pleth waveform height (max)

Large digit format

Digit height (max) 

Adjustable brightness
	17 mm x 21 mm

8 mm


	13 mm x 24 mm

(
(
2.5 mm

(
8.75 mm

(
	12 mm x 24 mm

(
(
2.5 mm

(
8.75 mm

(
	20 mm x 26 mm

(      

( (two rotations)

10 mm

(
10 mm

(
	20 mm x 26 mm

(
( (two rotations)
10 mm

(
10 mm

(

	Digit Colour

SpO2
Pulse Rate
	Red

Red 
	Blue

Blue
	Blue

Blue
	Green

Yellow
	Green

Yellow

	Signal Strength Indicator
	Bar graph
	Bar graph
	Bar graph
	Colour coded

bar graph
	Colour coded

bar graph

	Signal Quality Indicator
	None
	None
	None
	
	

	Housing Material
	Plastic
	Plastic
	Plastic
	Plastic
	Silicone

	Finger Pad Material
	Silicone
	Silicone
	Plastic
	Silicone
	Silicone

	Accuracy 

70 – 79 %

80 – 100 %
	+/- 3%

+/- 2%
	+/- 3%

+/- 2%
	+/- 3%

+/- 2%
	< 3.0 ARMS*
< 3.0 ARMS*
	< 3.0 ARMS*
< 3.0 ARMS*

	Processing

12 bit processing

Low perfusion capabilities

Fast ‘true reading’ response
	
	
	
	(
(
(
	(
(
(

	ISO 9919:2005 Standards…

Shock Test

Vibration Test

Drop Test

Water Ingress Protection IPX2

EMC. IEC 60601-1-2 
	(
(
(

	(
(
(
	(
(
(
	(
(
(
(
(
	(
(
(
(
(


* In accordance with ISO 9919:2005 Standards, values quoted in ARMS.[image: image6.png]



[image: image7.jpg]VIAMED




Part No. 0092180                     Date: 04/09


[image: image7.jpg]