	     [image: image5.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom
Tel: +44 (0)1535 634542       Fax: +44 (0)1535 635582

Email: info@viamed.co.uk       www.viamed-online.com



	UK PRICE LIST

INFANT RESUSCITATION CABINET




	Part Number


	Description
	Price

	0310002
	[image: image1.jpg]



	[image: image2.jpg]



	£3,385.00

	
	Includes:

Wall mounted radiant warmer: Ceratherm 600-2.

Viamed Tom Thumb infant resuscitation unit with 3m oxygen hose, supplied with the NeoPEEP neonatal resuscitation circuit incorporating a variable PEEP valve.

Suction controller with 3m suction hose.

Vacsax receiving system: reusable canister with disposable liner.

Viamed digital Apgar timer: large digit display, time-freeze function, and audible indication at 1, 5 and 10 minutes.

Integral 35cm (14") wide bed, with retaining lip and sides. Complete with sealed mattress, manufactured to BS5852 (Crib5) standard.

Cabinet includes: 3 storage bins on louvered rails, 3 internal ‘Medirail’ mounting rails, and integral storage shelf.


	


	Systems can be configured to users’ specific requirements; a choice of suction controllers and beds are available.

Prices effective: 6 February 2008.

Delivery lead-time: up to 8-10 weeks on full systems, accessories usually ex-stock.

Prices exclude V.A.T., delivery and installation.

Delivery:  £17.50 per system.

Installation is the responsibility of the customer; Viamed recommends a survey of any potential installation site by a structural engineer to determine suitability prior to purchase.

CE0086



Tel:  

 01535 633705

Fax: 

 01535 635582

e-mail: sales@viamed.co.uk  

	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image3.png]Master€ard




	 
[image: image4.png]VISA







Page 2 of 2
[image: image5.png]_1145192177.bin

_1145192477.bin

