	     [image: image10.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire  BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk       www.viamed-online.com



	UK PRICE LIST

NeoPEEP - Variable PEEP Neonatal Resuscitation Circuit



The NeoPEEP is a single patient use neonatal resuscitation circuit incorporating a variable PEEP valve. 

There are 3 steps involved in selecting your resuscitation circuit items:

Step 1: Do you require a single unit or a box of 20 of resuscitation circuits?
Step 2: Select the relevant adapter for your infant resuscitator, if required.
Step 3: Select the patient mask size you require.
STEP ONE: Resuscitation Circuit

	Part Number
	Model Ref.
	Description
	
	Price £

	3210011
	800100/
BLUE
	NeoPEEP Neonatal Resuscitation Circuit

Single Patient Use, 1.3m Length

Single unit
	[image: image1.jpg]



	£4.75

	3210013
	
	NeoPEEP Neonatal Resuscitation Circuit

Single Patient Use, 1.3m Length

Box of 20
	
	£90.00


STEP TWO: Resuscitation Circuit Connectors

The NeoPEEP will connect to any resuscitator with a 15mm I.D patient outlet. 
The NeoPEEP will also connect directly to standard endotracheal tubing.
For connecting the NeoPEEP to a resuscitator without a standard 15mm I.D patient outlet various connectors are available: 
	Part Number
	Model Ref.
	Description
	For Connecting To:
	Price £

	0120139
	PF 1510
	Adapter: 15mm I.D – 10mm I.D

Silicone, Reusable
Single unit
	Fisher & Paykel NeoPuff
	[image: image2.jpg]



	£2.35

	0120140
	PF 1515
	Adapter: 15mm I.D – 15mm I.D

Silicone, Reusable
Single unit
	Viamed Tom Thumb 
	[image: image3.jpg]



	£2.35

	0120141
	KC 2124
	Adapter: 15mm I.D/22mm O.D – 15mm I.D/22mm O.D
Disposable
Single unit
	Viamed Tom Thumb 
	[image: image4.jpg]



	£0.85

	0120151
	
	Adapter: 15mm I.D/22mm O.D – 15mm I.D/22mm O.D
Disposable
Pack of 20
	
	
	£17.00


STEP THREE: Patient Masks

	Part Number
	Model Ref.
	Description
	
	Price £

	3210070
	200600D
	Single use silicone round facemask – Size 00

Single unit
	[image: image5.png]



	£3.25

	3210073
	
	Single use silicone round facemask – Size 00

Pack of 20
	
	£65.00

	3210076
	
	Single use silicone round facemask – Size 00

Box of 100
	
	£325.00

	3210071
	200500D
	Single use silicone round facemask – Size 01

Single unit
	[image: image6.png]



	£3.25

	3210074
	
	Single use silicone round facemask – Size 01

Pack of 20
	
	£65.00

	3210077
	
	Single use silicone round facemask – Size 01

Box of 100
	
	£325.00

	3210072
	200400D
	Single use silicone round facemask – Size 02

Single unit
	[image: image7.png]



	£3.50

	3210075
	
	Single use silicone round facemask – Size 02

Pack of 20
	
	£70.00

	3210078
	
	Single use silicone round facemask – Size 02

Box of 100
	
	£350.00


NB. Other styles of masks are available.

Circuit & Masks: CE0434
Connectors: CE
Prices effective: 10 October 2008                                                         

Price excludes VAT and postage and packing

Tel:  

01535 633705

Fax: 

01535 635582

e-mail:
sales@viamed.co.uk
www.viamed-online.com 

	Purchase orders welcomed by: Telephone, fax, e-mail, post or online.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image8.png]Master€ard




	 
[image: image9.png]VISA













[image: image10.png]_1145192177.bin

_1145192477.bin

