	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	UK PRICE LIST

AX300 Oxygen Analyser &

MX300 Oxygen Monitor 



	
	
	
	
	

	Part number
	Model number
	Description
	Price £

	0111230
	AX300
	Oxygen analyser, without adjustable alarms.

3½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: 0 – 1 Volt analogue.

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter.

Sensor cable.

'V' mount adapter plate.

Mounting stand.

Non-conductive 'T' adapter (22mm, tapered).

3 x AA 1.5V batteries.

Instruction manual.

Declaration of Conformity.


	£229.00

	0111232
	AX300 

Includes.optional:

RS232 output.
	Oxygen analyser, without adjustable alarms.

3½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: RS232.

Includes sensor and standard accessories.


	£248.50

	0111233
	AX300

Includes optional: 
2½ digit LCD.

	Oxygen analyser, without adjustable alarms.

2½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: 0 – 1 Volt analogue.

Includes sensor and standard accessories.


	£248.50

	0111234
	AX300

Includes optional:

RS232 output.

2½ digit LCD.


	Oxygen analyser, without adjustable alarms.

2½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: RS232

Includes sensor and standard accessories.


	£268.00

	
	
	
	

	Part number
	Model number
	Description
	Price £

	0111235
	MX300
	Oxygen monitor, with alarms.

3½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: 0 - 1 Volt analogue.

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter.

Sensor cable.

'V' mount adapter plate.

Mounting stand.

Non-conductive 'T' adapter (22mm, tapered).

3 x AA 1.5V batteries.

Instruction manual.

Declaration of Conformity.


	£365.00

	0111237
	MX300

Includes.optional:

RS232 output.
	Oxygen monitor, with alarms.

3½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: RS232.

Includes sensor and standard accessories.


	£384.50

	0111238
	MX300

Includes optional: 
2½ digit LCD.
	Oxygen monitor, with alarms.

2½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: 0 - 1 Volt analogue.

Includes sensor and standard accessories.


	£384.50

	0111239
	MX300

Includes optional:

RS232 output.

2½ digit LCD.
	Oxygen monitor, with alarms.

2½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: RS232.

Includes sensor and standard accessories.


	£404.00

	
	
	
	

	
	
	
	

	Optional Accessories & Consumables

	

	Part number
	Model number
	Description
	Price £

	0110017
	C43690
	Oxygen sensor, R17MED.
	£40.00

	0120099
	B-50057
	Oxygen sensor flow diverter.
	£5.00

	0120100
	A-268
	‘T’ adapter, disposable, 22mm I.D – 22mm O.D, T 15mm I.D. 
	£2.50

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.
	£3.50

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D.
	£3.50

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm). 

15mm I.D. –15mm O.D., T 15mm I.D.
	£1.50

	0120120
	
	Oxygen concentrator adapter. Screws onto sensor, tapered inlet.
	£4.25

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	£1.28

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	£1.28

	0120127
	1974
	Oxygen connector, 15mm I.D./22mm O.D. – 6.5mm (tapered). 
	£1.13

	0121197
	
	‘V’ mount pole clamp, horizontal.
	£37.65

	0121198
	
	‘V’ mount rail clamp.
	£93.15

	0121199
	
	Swivel mount.
	£38.25

	0121200
	CP2345
	Universal mounting clamp.
	£39.70

	0121201
	CP2344
	‘V’ mount pole clamp.
	£40.75

	0121202
	B 647
	‘V’ mount wall plate.
	£15.00

	0121203
	B-75554
	0-1 V DC interface cable.
	£19.20

	0121204
	B-75555
	RS232 interface cable.
	£29.45

	0121205
	C53790
	Calibration assembly for AX300 & MX300.
	£12.95

	0131200
	C74721
	Sensor cable for AX300 & MX300.
	£20.00

	
	
	
	
	

	Prices effective: 3 October 2006

Prices exclude V.A.T. and postage & packing.

Availability: Ex-Stock

Postage and packing: Royal Mail same day dispatch for orders received before 15:00 

                                    Or 

                                    £8.50 next day courier delivery, <20kg.                                           CE0086

 


Quantity and ‘trade in’ discounts available. Please contact for further details.

Tel:  
01535 633705

Fax: 
01535 635582

e-mail:
sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image1.png]Master€ard




	 
[image: image2.png]VISA







Page 3 of 3

[image: image3.png]_1145192177.bin

_1145192477.bin

