	     [image: image7.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



R-15MED Oxygen Sensor

Part number: 0110015

£40.00
FREE DELIVERY

	( No minimum order quantity.

( No minimum order surcharge. 
( Includes 12 months warranty.

( Original (OEM) Teledyne sensor.

( Patented Rhodium cathode technology.
	[image: image1.jpg]





	R-15MED’s per order
	Discount
	Cost per sensor

	1
	0%
	£40.00

	2
	10%
	£36.00

	3-10
	15%
	£34.00

	11+
	20%
	£32.00



Delivery:
Royal mail, same day despatch for orders received before 15:00.

  
Courier despatch available, but will incur additional cost at £9 per order for up to 10 sensors.  




P.O.A. for courier despatch for 11+ sensors.

Prices effective 5 December 2006 and supersede all other list prices. Not to be used in conjunction with existing offers/contracts.

Prices exclude V.A.T.

Availability: Ex-Stock

Tel:  
01535 633705

Fax: 
01535 635582

e-mail:
sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image2.png]Master€ard




	 
[image: image3.png]VISA







Please turn over for our short form cross reference for the R-15MED.
[image: image4.jpg]




[image: image5.jpg]




[image: image6.jpg]



	Cross reference chart for sensors compatible to Teledyne R-15MED include:

	OEM or distributor
	Reference number

	Ohmeda
	0237-2034-700

For use with:

5250 RGM, 4700 OxiCap, 5100, 5120, 5125, 5200 series, 5400, 7810,  Excel Modulus 7750

	Analytical Industries Inc.
	PSR-11-915

	Biotest
	S101, D201

	BPR
	ST-10

	Carnet
	ST-10

	Catalyst Research
	655263, 655264

	Ceramatec
	CAG-1, CAG-8 (long life version)

	City Tech
	MOX-6 Medicell

	Envitec 
	OOM101

	Hamilton
	HM-10

	Hewlett Packard
	HP15201A

	Hudson
	5556

	Maxtec
	MAX-1, MAX-8* (long life version)

	Mercury Medical
	10-10-07

	MSA
	655263

	Pacifitec
	PT-14A (PT-10)

	Proact
	OOM101

	Sensidyne
	SV-14A (SV-10)

	Sensor-Tec
	ST-10, ST-13

	VTI (Vascular Technologies)
	101272


* We can also supply the long life version MAX-8, (larger sensor).
Viamed has been supplying oxygen sensors to the UK healthcare market for 30 years and offers the widest range of sensors.

Should you have any queries or require any further information regarding the latest generation R15 oxygen sensors or any of our other sensors, please do not hesitate to contact us.

[image: image7.png]_1145192177.bin

_1145192477.bin

