	     [image: image7.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



T7 Oxygen Sensor

Part number: 0110057
£40.00
FREE DELIVERY

	( No minimum order quantity
( No minimum order surcharge

( Includes 12 months warranty
( Original (OEM) Teledyne sensor
( Patented Rhodium cathode technology
	[image: image1.jpg]OXYGeN SENSOR
Class 7-7

“‘ PAT ko 'l







	T7s per order
	Discount
	Cost per sensor

	1
	0%
	£40.00

	2
	10%
	£36.00

	3-10
	15%
	£34.00

	11+
	20%
	£32.00



Delivery:
Royal mail, same day despatch for orders received before 15:00.

  
Courier despatch available, but will incur additional cost at £8.50 per order for up to 10 sensors.  




P.O.A. for courier despatch for 11+ sensors.

Prices effective 3 May 2007 and supersede all other list prices. Not to be used in conjunction with existing offers/contracts.

Prices exclude V.A.T.

Availability: Ex-Stock

Tel:  
01535 633705

Fax: 
01535 635582

e-mail:
sales@viamed.co.uk
www.viamed-online.com 
	Purchase orders welcomed by: Telephone, fax, e-mail, post or online.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image2.png]Master€ard




	 
[image: image3.png]VISA







Please turn over for our short form cross reference for the T7.
[image: image4.jpg]OXYGeN SENSOR
Class 7-7

“‘ PAT ko 'l





[image: image5.jpg]



[image: image6.jpg]




	Cross reference chart for sensors compatible to the Teledyne T7 include:

	OEM or Distributor
	Reference Number

	Teledyne
	A-51327, T7

For use with:
TED 60T, TED 190, TED 191, TED 200T, TED 200T7

	Analytical Industries
	PSR-11-77D, PSR-11-77D

	Asmuth
	AS416

	BPR
	ST-03

	Carnet
	ST-03

	Catalyst Research
	804674

	Ceramatec research
	CAG-17

	City Technology
	MediceL MOX-4

	Envitec
	OOM105

	Gotek
	PSR-11-77

	Hamilton Medical
	HM-03

	Hudson RCI
	5558, V-03

	Integral Process
	65013

	International Technologies
	M-07

	Maxtec
	MAX-17, MAX-17-250, R116P10

	Med Graphics
	M-07

	Mercury medical
	10-103-02

	MSA
	804674

	Newport Medical Instruments
	Equipment including; 

E200, OM100 T7, OM105, VM200, Wave ventilator

	Nuova
	E-77/0

	OxyCheq
	ROSR-08, T-7D

	Pacifitech
	PT-03

	Penlon
	MTS

	Proact Medical
	OOM105

	Sechrist
	43170, 650 T7

	Sensidyne
	SV-03A

	Sensor Tec
	ST-03

	Vascular Technology Inc.
	103102

	Ventres
	V-03, V-03A

	Wardray Premise
	TED 200T7


Viamed has been supplying oxygen sensors to the UK healthcare market for over 30 years and offers the widest range of sensors.
Should you have any queries or require any further information regarding the T7 oxygen sensor or any of our other sensors, please do not hesitate to contact us a member of our sales team on 01535 634542, between the hours of 08:00 and 17:30.
[image: image7.png]_1145192177.bin

_1145192477.bin

