	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	UK PRICE LIST

  AMELUX®
Phototherapy Light System




[image: image1.png]Master€ard



[image: image3.png]
	Part number


	Description
	Price



	1910000
	AMELUX Phototherapy Light System – Standard Therapy

Six compact fluorescent lamps:

4 blue (for therapy), wavelength 425-475nm, power 18W.

2 white, daylight (for observation), power 18W.

Total irradiance (400nm – 550nm) @ 35cm: 3.47mW/cm2.

Total irradiance (400nm – 550nm) @ 40cm: 2.77mW/cm2.

Effective light field: >700cm2, i.e. 23cm x 46cm at a distance of 35cm.

Minimum recommended distance: 35cm.
Dimensions of light assembly: 47cm (l) x 40cm (w) x 9cm (h).

Light assembly adjustment: 115cm – 160cm.

Total run hour timer, for replacement of lamps after 2000 hours.

Therapy timer, with zero reset button to count therapy hours.

Operating Instructions & Service Manual.

  
	£1,295.00


	1910001
	AMELUX Phototherapy Light System – Intensive Therapy

Six compact fluorescent lamps:

6 blue (for therapy), wavelength 425-475nm, power 18W.

Total irradiance (400nm – 550nm) @ 35cm: 4.30mW/cm2.

Effective light field: >700cm2, i.e. 23cm x 46cm at a distance of 35cm.

Minimum recommended distance: 35cm.

   
	£1,295.00

	
	
	

	1930104
	Replacement compact fluorescent lamp (CFL) blue DULUX 18W71
    
	£35.00

	1930105
	Replacement compact fluorescent lamp (CFL) white DULUX 18W950

   
	£31.50


	Prices effective: 15 October  2007                                                                                                                    CE0123
Prices exclude: V.A.T & Postage/Packing

Certifications & conformity: MDD93/42 EEC, EN 60601-1, EN 60601-2-50, EN 60601-1-2 (2001), EN ISO 9001 

Protection class, grounded/protection level: Class I, B

NHS Framework Agreement for the supply of infant warming and phototherapy equipment: CM/MCM/04/3149




Tel:  

01535 633705

Fax: 

01535 635582

e-mail:

sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image5.jpg]



	 
[image: image2.png]VISA







[image: image4.jpg]


_1145192177.bin

_1145192477.bin

