	      [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	UK PRICE LIST

Dolphin 2100 Pulse Oximeter 

Spare Parts List



	
	
	
	
	

	Part number
	Model number
	Description
	Price 

£

	0031581
	155-0093
	FRONT MEMBRANE / KEYPAD
	£79.50

	0031582
	PS-000004
	FRONT BEZEL PLASTIC
	£45.00

	0031583
	PS-200132
	ASSY DISPLAY LCD CCF
	£215.00

	0031584
	PS-000019
	SPEAKER ASSEMBLY
	£11.50

	0031585
	PS-000038
	MAIN SYSTEM BOARD, PCBA 
	£430.00

	0031586
	PS-200016
	BATTERY 12V 2.2A-Hr
	£42.00

	0031587
	PS-000003
	MOUNT BATTERY/POWER
	£27.65

	0031588
	PS-200014
	POWER SUPPLY SWITCHING
	£110.00

	0031589
	PS-000002
	PANEL REAR SHEET METAL
	£26.75

	0031590
	PS-000007
	CASE EXTRUSION FINISHED
	£98.75

	0031591
	PS-200012
	POWER ENTRY MODULE
	£48.75

	0031592
	DP-000001
	601 OEM OXIMETER MODULE
	£289.00

	0031593
	PS-200013
	FUSE FAST 5X20mm 2A 250V
	£1.45

	0031594
	PS-200041
	FOOT 0.6 RECESSED BLACK
	£1.75

	0031595
	PS-200208
	TUBING SANTOPRENE 1/4 9.6 IN LENGTH (FOR PS200041)
	£1.75

	0031596
	PS-200026
	FRONT FOOT/BALE ASSY
	£10.45

	0031597
	PS-000021
	CABLE ASSY HARNESS AC POWER
	£7.90

	0031598
	PS-000062
	CABLE ASSY HARNESS DC POWER
	£8.40

	0031599
	PS-200153
	Nut # 6-32,HEX, CAP, HIGH CROWN
	£0.85

	0031600
	PS-200045
	WASHER, lOCK, #6, SS
	£0.20

	0031601
	PS-000009
	SCREW ROD THREADED SS 6-32
	£0.18

	0031602
	PS-200000
	SCREW,M2.5 X 10MM, PHILLIPS, FLAT HEAD
	£0.60

	
	
	
	
	

	Prices effective: 12 September 2006

Price excludes:  VAT, P&P

Prices supersede all other list prices.     

                                                                                                                             


Tel:  
01535 633705

Fax: 
01535 635582

e-mail:
sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image1.png]Master€ard




	 
[image: image2.png]VISA







[image: image3.png]_1145192177.bin

_1145192477.bin

