	
[image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk


	UK PRICE LIST

ACCESSORIES & CONSUMABLES FOR 
DOLPHIN ONE PULSE OXIMETERS



	
	
	
	
	

	Part number
	Model number
	Description
	Price £

	0020110
	110
	Dolphin SpO2 Extension Cable.
	Cable length: 

2.4m (8 ft).

Connectors:
Moulded DB9F - 

Mini D Ribbon 14 pin.
	£88.50

	0020120
	120
	Dolphin SpO2 Extension Cable.
	Cable length: 

0.9m (3 ft).

Connectors:
Moulded DB9F - 

Mini D Ribbon 14 pin.
	TBA

	0020210
	210
	Dolphin SpO2 Finger Sensor, Adult.
	Cable length: 

45 cm (18").

Connector: 
Moulded DB9M, keyed.

Emitters: 
660, 724, 805, 905nm.
	£99.50

	0020320
	320
	Dolphin SpO2 Multi-site ‘Y’ Sensor, Adult.

Complete with ear clip, model 921.
	Cable length: 

45 cm (18").

Connector: 
Moulded DB9M, keyed.

Emitters: 
660, 724, 805, 905nm.
	£88.50

	0020360
	360
	Dolphin SpO2 Multi-site ‘Y’ Sensor, Neonatal.


	Cable length: 

45 cm (18").

Connector: 
Moulded DB9M, keyed.

Emitters: 
660, 724, 805, 905nm.
	£88.50

	0020921
	921
	Dolphin SpO2 Ear Clip.
	£10.50

	0050520
	520
	Dolphin SpO2 Disposable Sensor

Adult, In-Line.

Box of 24.
	Cable length: 

45 cm (18").

Connector: 

Moulded DB9M, keyed.

Emitters: 
660, 905nm.
	£264.00

	0050560
	560
	Dolphin SpO2 Disposable Sensor

Neonatal, L-Shaped.

Box of 24
	
	£264.00

	0210411
	37104/D
	Temperature Probe,

Adult rectal/oesophageal.

For use with 

Dolphin 2150 pulse oximeter.
	Cable length: 3m

Connector: Miniature jack (mono)
	£43.00

	0210410
	37204/D
	Temperature Probe,

Paediatric rectal/oesophageal.

For use with 

Dolphin 2150 pulse oximeter.
	Cable length: 3m

Connector: Miniature jack (mono)
	£65.00

	0210413
	37804/D
	Temperature Probe,

Paediatric skin.

For use with 

Dolphin 2150 pulse oximeter.
	Cable length: 3m

Connector: Miniature jack (mono)
	£76.00

	0210414
	37904/D
	Temperature Probe,

Adult skin.

For use with 

Dolphin 2150 pulse oximeter.
	Cable length: 3m

Connector: Miniature jack (mono)
	£58.00

	0020925
	55-01014
	Belt clip for use with Dolphin 2150 pulse oximeters.
	£8.85

	0020926
	121-0103
	Pole mount for use with Dolphin 2150 pulse oximeters.
	£12.50

	0020927
	121-0130
	Protective rubber boot for use with Dolphin 2150 pulse oximeters.
	£36.75

	0020928
	2185
	Power supply (medical grade) for use with Dolphin 2150 pulse oximeter.
	£45.00

	
	
	
	
	

	Prices effective: 29 March 2006

Prices exclude V.A.T. and postage and packing.

Postage and packing:  £8.50 UPS next day delivery, <20kg.                                    CE0301                     



_1122892293.bin

