	      [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	UK PRICE LIST

Dolphin 2000 Series Disposable SpO2 Sensors 



	
	
	
	
	

	Part number
	Model number
	Description
	Price £

	0012321
	2321
	Ohmeda Adult (Paediatric) sensors, box of 24.

Cable length 0.60 m (2’).  Tape material – clear tape.
	175.20

	0012323
	2323
	Ohmeda Infant (Neonatal) sensors, box of 24.

Cable length 0.60 m (2’). Tape material – cloth.
	175.20

	0012412
	2412
	Ohmeda adapter cable. 9 pin D’ (f) – 9 pin Hypertronics (m).

Cable length 1.80 m (6’). 
	42.75

	0012422
	2422
	Ohmeda adapter cable. 9 pin D’ (f) – 9 pin Hypertronics (m).

Cable length 3.00 m (10’).
	52.50

	0012331
	2331
	Datex Adult  sensors, box of 24.

Cable length 0.75 m (3’). Tape material – foam.
	175.20

	0012332
	2332
	Datex Paediatric sensors, box of 24.

Cable length 0.75 m (3’). Tape material – foam.
	175.20

	0012333
	2333
	Datex Infant  sensors, box of 24.

Cable length 0.75 m (3’). Tape material – foam.
	175.20

	0012334
	2334
	Datex  Neonatal sensors, box of 24.

Cable length 0.75 m (3’). Tape material – foam.
	175.20

	0012413
	2413
	Datex adapter cable. 9 pin D’ (f) – 10 pin Datex (f).

Cable length 1.80 m (6’). 
	65.00

	0012423
	2423
	Datex adapter cable. 9 pin D’ (f) – 10 pin Datex (f).

Cable length 3.00 m (10’).
	70.00

	0012341
	2341
	CSI (Criticare) Adult sensors, box of 24.

Cable length 0.64 m (25”). Tape material – clear tape.
	175.20

	0012342
	2342
	CSI (Criticare) Paediatric sensors, box of 24.

Cable length 0.64 m (25”). Tape material – clear tape.
	175.20

	0012343
	2343
	CSI (Criticare) Infant sensors, box of 24.

Cable length 0.64 m (25”). Tape material – cloth.
	175.20

	0012344
	2344
	CSI (Criticare) Neonatal sensors, box of 24.

Cable length 0.64 m (25”). Tape material – cloth.
	175.20

	0012414
	2414
	CSI (Criticare) extension cable. 9 pin D’ (f) – 5 pin Lemo (m).

Cable length 1.80 m (6’). 
	58.50

	0012424
	2424
	CSI (Criticare) extension cable. 9 pin D’ (f) – 5 pin Lemo (m).

Cable length 3.00 m (10’).
	65.50

	
	
	
	
	

	Prices effective: 28 November 2006

Prices exclude V.A.T. 

Prices include postage and packing.

Prices supercede all other list prices. Not to be used in conjunction with existing offers/contracts.                   CE0301                     


For Nellcor disposable sensors please refer to the Dolphin 3000 Series sensors.

Other sensor types are also available such as: Finger sensors, multi-site ‘Y’ sensors, Ear sensors, DOT sensors, Wrap sensors…

[image: image1.png]