	     [image: image22.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: +44 1535 634542               Fax: +44 1535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	INTERNATIONAL DISTRIBUTOR PRICE LIST

Blue Diamond Gel 

Specialty Pads




	Part number


	Model
	Description
	
	Price

USD $ 

	2710400
	BD2570
	Fracture Table Gel Hip Pad.

Versatile pad that can be placed in many different areas. It can be trimmed to fit your application.
5" (w) x 7" (l) x 3/8" (h).


	 
	$24.60

	2710401
	BD2610
	Fracture Table Gel Hip Pad with Post Hole.

10" (l) x 7" (w). Hole accepts up to a 2¼” post. 

Should be used in conjunction with 2710402 post pad.
	[image: image1.jpg]


  
	$51.80 

	2710402
	BD2580
	Fracture Table Gel Post Pad.

Has a 5" flap with Velcro that wraps around the post with a gel area measuring 5" (w) x 7" (h) x 3/8" thickness.


	     [image: image2.jpg]



	$38.85

	2710403
	BD2600
	Andrews Frame Gel Iliac Crest Pad.

5" (w) x 24" (l) attached to an adjustable strap. Designed to accommodate all sizes of patients and to be wrapped around their mid section to reduce pressure during a kneeling position. 


	[image: image3.jpg]



	$158.20

	2710404
	BD2590
	Andrews Frame Gel Knee Pad.

16" (w) x 22" (l) x 1" (h). Has a cutout of 6" by 4 ¼" to adapt to the Andrews Knee Frame. This pad is crucial in reducing capillary pressures whilst a patient is in this position.


	[image: image4.jpg]



	$214.90

	2710405
	BD2700
	Hip & Sacral Gel Pad Set for Hip Positioners.

Fits on McGuires and IMP adjustable lateral frame hip positioners. The base plate is 11" x 17" x ½ " and the sacral pad is 9" x 11" x ½" with a pocket to slide over top for added protection.


	[image: image5.jpg]



	$118.70

	2710406
	BD2670
	Lateral Gel Hip Positioner Post Caps (Pair).

Square caps come in pairs and fit on most lateral hip positioners. Designed for McGuire and IMP Lateral Positioner. The base plate and back plate are available and sold separately as 2710405.

	[image: image6.jpg]



	$155.35

	Page 1 of 3



	2710407
	BD2650
	Wilson Frame Gel Pad Set.

Pads attach with Velcro. 10" (w) x 29" (l) x ½" (h).


	[image: image7.jpg]



	$239.95

	2710408
	BD2655
	Wilson Frame Gel Pad Set.

Pads attach with Velcro. 10" (w) x 29" (l) x 1" (h).
	[image: image8.jpg]



	$335.75

	2710409
	BD2620
	Adjustable Patient Restraint.

5" (w) x 24" (l) x 3/8"(h) attached to a patient restraint belt that is x 2" (w) x 96" (l) and has two airplane style buckles. A body panel of 5" (w) x 18" (l) is where the removable gel pad is positioned. 


	 [image: image9.jpg]



	$155.35

	2710417
	VEL-KIT
	12" Velcro Kits, Hook & Loop (qty 2).
	[image: image10.jpg]



	$8.65

	2710418
	BDR001
	Repair Patch for Blue Diamond Gel Pads.

Comprises of a flexible skin backed with a flexible adhesive to repair small punctures or tears in the skin of Blue Diamond Gel pads. 4" x 4"


	[image: image11.jpg]ons

mepalr Kit Instruct!
gn-r001 4"





	$4.35

	2710419
	BDR002
	Repair Patch for Blue Diamond Gel Pads.

Comprises of a flexible skin backed with a flexible adhesive to repair small punctures or tears in the skin of Blue Diamond Gel pads. 6" x 24"


	  [image: image12.jpg]



	$15.10

	2710110
	BD2630
	16" (w) x 16" (l) x ½ " (h).

Designed for comfort during longer procedures when the surgeon, anaesthetist or nurse is sitting down.
	[image: image13.jpg]



	$75.95

	2710111
	BD2640
	Wheelchair gel pad.

16" (w) x 16" (l) x 5/8 " (h).

Can be used with or without existing pads.
	[image: image14.jpg]



	$82.45

	2710113
	BD3500
	Beanbag Vac Pac Gel Overlay.

30" (w) x 40" (l) x ¼" (h).

With cutout for shoulder.
	[image: image15.jpg]



	$315.05

	2710132
	BD2750
	Paediatric Gel Positioning Set.

Consists of:

1 x Blue Diamond gel body pad, 

      20" (w) x 9" (l) x 2" (h).

1 x Blue Diamond horseshoe pad.

1 x Cylinder 1½" (d) x 12" (l).

1 x Cylinder 2   " (d) x 12" (l).


	[image: image16.jpg]B R T A e T U B





	$323.65

	2710259
	BD2335
	Candy Cane Gel Foot Straps (Pair).

Pair of heavy-duty deluxe straps for candy cane stirrups. The straps are 24" for added flexibility, with a 12" gel strip to protect the back of the heel/ankle as well as the sides of the foot.


	[image: image17.jpg]Holder
ONLY




	$63.00

	Page 2 of 3

	2710303
	BD2405
	Small Gel Roll with Velcro.

Has Velcro securing straps. 11" (w) x 17" (l) x ½".
	[image: image18.jpg]



	$88.90

	2710304
	BD2400
	Large Gel Roll with Velcro.

Has Velcro securing straps. 20" (w) x 20" (l) x ½".
	[image: image19.jpg]



	$129.50


Blue Diamond Gel Product Facts
- Latex Free 
- Silicone Free
- Antimicrobial & Antibacterial
- Re-usable
- Repairable
- Gel will not Leak, Ooze or Evaporate
- X-Ray Translucent
- Ability to Heat and Cool

	Prices effective: 19th October 2006.

Delivery: EXW (Incoterms 2000) Viamed UK                                                                        CE0086



Tel:  

+44 1535 633705

Fax: 

+44 1535 635582

e-mail:
sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image20.png]Master€ard




	 
[image: image21.png]VISA







Page 3 of 3
[image: image22.png]_1145192177.bin

_1145192477.bin

