	     [image: image10.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley - West Yorkshire  BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk       www.viamed-online.com



	INTERNATIONAL DISTRIBUTOR PRICE LIST

NeoPEEP - Variable PEEP Neonatal Resuscitation Circuit




The NeoPEEP is a single patient use neonatal resuscitation circuit incorporating a variable PEEP valve. 

There are 3 steps involved in selecting your resuscitation circuit items:

Step 1: Do you require a single unit or a box of 20 of resuscitation circuits?

Step 2: Select the relevant adapter for your infant resuscitator, if required.

Step 3: Select the patient mask size you require.

STEP ONE: Resuscitation Circuit

	Part Number
	Model Ref.
	Description
	
	Price USD $



	
	
	
	
	1 - 99
	100 +

	3210011
	800100/

BLUE
	NeoPEEP Neonatal Resuscitation Circuit

Single Patient Use, 1.3m Length

Single unit
	[image: image1.jpg]



	$9.00
	$8.00


STEP TWO: Resuscitation Circuit Connectors

The NeoPEEP will connect to any resuscitator with a 15mm I.D patient outlet. 

The NeoPEEP will also connect directly to standard endotracheal tubing.

For connecting the NeoPEEP to a resuscitator without a standard 15mm I.D patient outlet various connectors are available: 

	Part Number
	Model Ref.
	Description
	For Connecting To:
	Price USD $

	0120139
	PF 1510
	Adapter: 15mm I.D – 10mm I.D

Silicone, Reusable

Single unit
	Fisher & Paykel NeoPuff
	[image: image2.jpg]



	$4.70

	0120140
	PF 1515
	Adapter: 15mm I.D – 15mm I.D

Silicone, Reusable

Single unit
	Viamed Tom Thumb 
	[image: image3.jpg]



	$4.70

	0120141
	KC 2124
	Adapter: 15mm I.D/22mm O.D – 15mm I.D/22mm O.D

Disposable

Single unit
	Viamed Tom Thumb 
	[image: image4.jpg]



	$1.25


STEP THREE: Patient Masks

	Part Number
	Model Ref.
	Description
	
	Price USD $

	
	
	
	
	1 – 99
	100 +

	3210070
	200600D
	Single use silicone round facemask – Size 00

Single unit


	[image: image5.png]



	$5.50
	$4.95

	3210071


	200500D
	Single use silicone round facemask – Size 01

Single unit


	[image: image6.png]



	$5.50
	$4.95

	3210072
	200400D
	Single use silicone round facemask – Size 02

Single unit


	[image: image7.png]



	$6.50
	$5.85


NB. Other styles of masks are available.

Circuit & Masks: CE0434

Connectors: CE
	Prices effective: 22 January 2009

Prices exclude: VAT

Delivery: EXW (Incoterms 2000) Viamed UK


Tel:  

+44 (0)1535 634542

Fax: 

+44 (0)1535 635582

e-mail:

sales@viamed.co.uk
	www.viamed-online.com
Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard and Visa. 
	
[image: image8.png]Master€ard




	 
[image: image9.png]VISA













[image: image10.png]_1145192177.bin

_1145192477.bin

