	     [image: image19.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	INTERNATIONAL DISTRIBUTOR PRICE LIST

MEDICAL OXYGEN SENSOR ACESSORIES




	Part number


	Model
	Description
	
	Price

Euro €

	0120099
	B-50057
	Oxygen sensor flow diverter, 15mm. 

For use with R17MED, R22MED, R24MED, T7
	
	€4.00

	0120100
	A-268

BE 125-1TD
	‘T’ adapter, 22mm I.D – 22mm O.D, T 15mm I.D. 

Disposable.

Material: High-density polyethylene.
	



	€1.44

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.

For use with R17MED, R22MED, R24MED, T7
	
	€3.80

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D. 

For use with R17MED, R22MED, R24MED, T7
	
	€3.80

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm). 

15mm I.D. –15mm O.D., T 15mm I.D.


	[image: image1.jpg]



	€2.00

	0120104
	A274

BE 125-1T
	‘T’ adapter, 22mm O.D. – 22mm I.D.

T 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	


	€8.00

	0120106
	BE 117-W
	‘T’ adapter, 22mm I.D – 22mm O.D,

T 15mm I.D./22mm O.D. (T length longer than 0120100)

Disposable. 

Material: High-density polyethylene.
	


	€1.60

	0120107
	BE 117-C
	‘T’ adapter, non re-breathing. 

22mm O.D. - 22mm I.D.  T 15mm I.D./22mm O.D.

Disposable. 

Material: High-density polyethylene.
	


	€3.16

	0120108
	BE125-1
	‘T’ adapter, 22mm O.D – 22mm O.D,

T 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate
	


	€3.00

	0120120
	
	Oxygen concentrator adapter. 

Screws onto sensor, tapered inlet. 

For use with R17MED, R22MED, R24MED, T7
	[image: image6.png]



	€5.20

	
	
	
	
	

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	
	€1.60

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	
	€1.60

	0120127
	1974
	Oxygen connector, 

15mm I.D./22mm O.D. – 6.5mm (tapered). 
	
	€1.40

	0120130
	BE 145-2P
	Connector, 15mm O.D. – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	


	€2.00

	0120131
	BE 145-1522P
	Connector, 15mm I.D./22mm O.D – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	


	€2.08

	0120133
	BE 145-2230P
	Connector, 22mm I.D./30mm O.D – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	


	€2.16

	0120160
	BE 105-10
	FiO2 sensor adapter. 
15mm I.D./22mm O.D. - 15mm I.D./22mm O.D.

Reusable. Material: Polycarbonate

Includes: 

BE 101-3A activator for small-bore tubing.
	


	€12.00

	0120161
	BE 101-3A
	FiO2 activator for small bore tubing.

Reusable. 

Material: Polycarbonate.
	


	€6.40

	0120162
	ACT 15/22
	FiO2 activator for 15mm O2 sensors, 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	


	€6.40

	0120163
	ACT 18/22
	FiO2 activator for 18mm O2 sensors, 18mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	


	€6.40

	0120164
	MT 100
	Spring loaded FiO2 sensor adapter. 
15mm I.D./22mm O.D. - 15mm I.D./22mm O.D.

Activator is reusable. ‘T’ assembly is disposable.
	


	€7.20

	0120165
	MT 100-TA
	Replacement ‘T’ assembly for MT 100.

Disposable. 

Material: Polyethylene.
	


	€2.00

	0120166
	MT 100-A
	Replacement activator for MT 100.

Reusable. 

Material: Polycarbonate.
	


	€5.20

	0121205
	C53790
	Calibration assembly. 

For use with R17MED, R22MED, R24MED, T7
	
	€9.60


For perfusion circuits the following can be utilised:

[image: image19.png]
1 x 0120100

1 x 0120131

1 x 0120133
	Prices effective: 1 October 2006.

Delivery: EXW (Incoterms 2000) Viamed UK




Tel:  

01535 633705

Fax: 

01535 635582

e-mail:
sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image17.png]Master€ard




	 
[image: image18.png]VISA







Page 3 of 3

[image: image20.jpg]


_1145192177.bin

_1145192477.bin

