	
[image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk


	INTERNATIONAL DISTRIBUTOR PRICE LIST

ACCESSORIES & CONSUMABLES FOR 
DOLPHIN ONE PULSE OXIMETERS



	
	
	
	
	

	Part number
	Model number
	Description
	Price $

USD

	0020110
	110
	Dolphin SpO2 Extension Cable.
	Cable length: 

2.4m (8 ft).

Connectors:
Moulded DB9F - 

Mini D Ribbon 14 pin.
	$99.00

	0020120
	120
	Dolphin SpO2 Extension Cable.
	Cable length: 

0.9m (3 ft).

Connectors:
Moulded DB9F - 

Mini D Ribbon 14 pin.
	$60.00

	0020210
	210
	Dolphin SpO2 Finger Sensor, Adult.
	Cable length: 

45 cm (18").

Connector: 
Moulded DB9M, keyed.

Emitters: 
660, 724, 805, 905nm.
	$80.00

	0020320
	320
	Dolphin SpO2 Multi-site ‘Y’ Sensor, Adult.

Complete with ear clip, model 921.
	Cable length: 

45 cm (18").

Connector: 
Moulded DB9M, keyed.

Emitters: 
660, 724, 805, 905nm.
	$103.50

	0020360
	360
	Dolphin SpO2 Multi-site ‘Y’ Sensor, Neonatal.


	Cable length: 

45 cm (18").

Connector: 
Moulded DB9M, keyed.

Emitters: 
660, 724, 805, 905nm.
	$103.50

	0020921
	921
	Dolphin SpO2 Ear Clip.
	$13.50

	0052200
	22XX
	Adhesive wraps for use with multi-site ‘Y’ sensors.

24 pack (12 x adult/paediatric & 12 x infant/neonatal).
	$15.55

	0052201
	22XX-1
	Adhesive wraps for use with multi-site ‘Y’ sensors.

Pack of 100 adult/paediatric.
	$51.75

	0052202
	22XX-2
	Adhesive wraps for use with multi-site ‘Y’ sensors.

Pack of 100 infant/neonatal.
	$38.85

	0021012
	6554
	Posey wrap for use with multi-site ‘Y’ sensors.
	$0.65

	0021013
	6554
	Posey wrap for use with multi-site ‘Y’ sensors. Pack of 12.
	$6.48

	0050520
	520
	Dolphin SpO2 Disposable Sensor

Adult, In-Line. Box of 24.
	Cable length: 

45 cm (18").

Connector: 

Moulded DB9M, keyed.

Emitters: 660, 905nm.
	$310.80

	0050560
	560
	Dolphin SpO2 Disposable Sensor

Neonatal, L-Shaped. Box of 24
	
	$310.80

	0020925
	55-01014
	Belt clip for use with Dolphin  2150 pulse oximeters.
	$13.50

	0020926
	121-0103
	Pole mount for use with Dolphin 2150 pulse oximeters.
	$15.50

	0020927
	121-0130
	Protective rubber boot for use with Dolphin 2150 pulse oximeters.
	$55.00

	0020928
	2185
	Power supply (medical grade) for use with Dolphin 2150 pulse oximeter.
	$43.50

	
	
	
	
	

	Prices effective: 10 February 2006         

Delivery: EXW (Incoterms 2000) Viamed UK.                          

CE0301                                                               


Page 2 of 2


_1122892293.bin

