	      [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	INTERNATIONAL DISTRIBUTOR PRICE LIST

Dolphin Series 2000 SpO2 Sensors 



	
	
	
	
	

	Part number
	Model number
	Description
	Price 

$ USD

	0012010
	*2010
	Nellcor finger sensor – Adult.

Cable length 0.90m (3′). Connector: 9 pin D’ (m).
	$77.65

	0012210
	*2210
	Nellcor multi-site ‘Y’ sensor.

Cable length 0.90m (3′). Connector: 9 pin D’ (m).

Includes: 1 x 0020921 & 1 x 0052200.
	$84.25

	0012411
	2411
	Nellcor extension cable, for use with 0012010 & 0012210. 

Cable length 1.80m (6′). Connectors: 9 pin D’ (f) – 9 pin D’ (m). 
	$25.95

	0012421
	2421
	Nellcor extension cable, for use with 0012010 & 0012210.  

Cable length 3.00m (10′). Connectors: 9 pin D’ (f) – 9 pin D’ (m). 
	$31.25

	0012417
	2417
	Nellcor adapter cable – Hewlett Packard,

for use with 0012010 & 0012210.
Cable length 1.80m (6′). Connectors: 9 pin D’ (f) – 12 pin HP (m). 
	$77.75

	0012427
	2427
	Nellcor adapter cable – Hewlett Packard,

for use with 0012010 & 0012210.
Cable length 3.00m (10′). Connectors: 9 pin D’ (f) – 12 pin HP (m). 
	$90.50

	0012418
	2418
	Nellcor adapter cable – SpaceLabs,for use with 0012010 & 0012210.
Cable length 1.80m (6′). Connectors: 9 pin D’ (f) – 12 pin Hypertronics (m). 
	$71.25

	0012428
	2428
	Nellcor adapter cable – SpaceLabs, for use with 0012010 & 0012210.  

Cable length 3.00m (10′). Connectors: 9 pin D’ (f) – 12 pin Hypertronics (m). 
	$84.25

	0012020
	2020
	Ohmeda finger sensor – Adult.

Cable length 3.00m (10′). Connector: 9 pin Hypertronics.
	$90.60

	0012220
	2220
	Ohmeda multi-site ‘Y’ sensor.

Cable length 0.90m (3′). Connector: 9 pin D’ (m).

Includes: 1 x 0020921 & 1 x 0052200.
	$84.25

	0012412
	2412
	Ohmeda extension cable, for use with 0012220.

Cable length 1.80m (6′). Connectors: 9 pin D’ (f) – 9 pin Hypertronics.
	$46.75

	0012422
	2422
	Ohmeda extension cable, for use with 0012220

Cable length 3.00m (10′). Connectors: 9 pin D’ (f) – 9 pin Hypertronics.
	$56.95

	0012030
	2030
	Datex finger sensor – Adult.

Cable length 3.96m (13′). Connector 10 pin Datex.
	$84.25

	0012230
	2230
	Datex multi-site ‘Y’ sensor.

Cable length 0.90m (3′). Connector: 9 pin D’ (m).

Includes: 1 x 0020921 & 1 x 0052200.
	$90.60

	0012413
	2413
	Datex extension cable, for use with 0012230.

Cable length 1.80m (6′). Connectors: 9 pin D’ (f) – 10 pin Datex.
	$64.75

	0012423
	2423
	Datex extension cable, for use with 0012230.
Cable length 3.00m (10′). Connectors: 9 pin D’ (f) – 10 pin Datex.
	$73.75

	0012040
	2040
	CSI (Criticare) finger sensor – Adult.

Cable length 3.00m (10′). Connector: 5 pin Lemo.
	$77.65

	0012041
	2041
	CSI (Criticare) finger sensor – Adult.

Cable length 1.22m (4′). Connector: 9 pin D’ (m) right angled.
	$90.60

	0012240
	2240
	CSI (Criticare)  multi-site ‘Y’ sensor.

Cable length 0.90m (3′). Connector: 9 pin D’ (m) right angled.

Includes: 1 x 0020921 & 1 x 0052200.
	$77.75

	0012414
	2414
	CSI (Criticare) extension cable, for use with 0012041 & 0012240.

Cable length 1.80m (6′). Connectors: 9 pin D’ (f) right angled – 5 pin Lemo.
	$63.50

	0012424
	2424
	CSI (Criticare) extension cable, for use with 0012041 & 0012240.
Cable length 3.00m (10′). Connectors: 9 pin D’ (f) right angled – 5 pin Lemo.
	$71.25


	0012050
	2050
	BCI finger sensor – Adult. 
Cable length 0.90 m (3′). Connector: 9 pin D’ (m).

Available whilst stocks, discontinued by Dolphin Medical.
	$77.65

	0012250
	2250
	BCI multi-site ‘Y’ sensor.

Cable length 0.90 m (3′). Connector: 9 pin D’ (m).

Includes: 1 x 0020921 & 1 x 0052200.

Available whilst stocks, discontinued by Dolphin Medical.
	$84.25

	0012415
	2415
	BCI extension cable, for use with 0012050 & 0012250. 

Cable length 1.80 m (6′). Connectors: 9 pin D’ (f) – 9 pin D’ (m).

 Available whilst stocks, discontinued by Dolphin Medical.
	$25.95

	0012425
	2425
	BCI extension cable, for use with 0012050 & 0012250.

Cable length 3.00 m (10′). Connectors: 9 pin D’ (f) – 9 pin D’ (m). 

Available whilst stocks, discontinued by Dolphin Medical.
	$32.35

	0012060
	2060
	Novametrix finger sensor – Adult.

Cable length 3.00m (10′). Connector: 7 pin Hypertronics.
	$90.60

	0012260
	2260
	Novametrix multi-site ‘Y’ sensor.

Cable length 0.90m (3′). Connector: 9 pin D’ (m).

Includes: 1 x 0020921 & 1 x 0052200.
	$97.00

	0012416
	2416
	Novametrix extension cable, for use with 0012260.

Cable length 1.80m (6′). Connectors: 9 pin D’ (f) – 7 pin Hypertronics.
	$46.60

	0012426
	2426
	Novametrix extension cable, for use with 0012260.

Cable length 3.00m (10′). Connectors: 9 pin D’ (f) – 7 pin Hypertronics.
	$54.35

	0012070
	2070
	Nonin finger sensor – Adult.

Cable length 0.90m (3′). Connector: 9 pin D’ (m).
	$77.65

	0020921
	921
	Ear clip for use with Dolphin multi-site ‘Y’ sensors.
	$15.33

	0052200
	22XX
	Adhesive wraps for use with multi-site ‘Y’ sensors.

24 pack (12 x adult/paediatric & 12 x infant/neonatal).
	$15.55

	0052201
	22XX-1
	Adhesive wraps for use with multi-site ‘Y’ sensors.

Pack of 100 adult/paediatric.
	$51.75

	0052202
	22XX-2
	Adhesive wraps for use with multi-site ‘Y’ sensors.

Pack of 100 infant/neonatal.
	$38.85

	0021012
	6554
	Posey wrap for use with multi-site ‘Y’ sensors.
	$0.65

	0021013
	6554
	Posey wrap for use with multi-site ‘Y’ sensors. Pack of 12.
	$6.48

	
	
	
	
	

	Prices effective: 7 July 2005

Prices EXW (Incoterms 2000) Viamed UK.

Warranties: Finger sensors & extension/adapter cables - 12 months from invoice date. 

                    Multi-site ‘Y’ sensors - 6 months from invoice date.

CE0301                     


*Connector: 9 pin D’ type (m).  7 pins loaded, pins 4 & 8 not connected.

Not compatible for use with equipment that utilise Oximax technology, i.e. Nellcor 550 & 595 pulse oximeters.

[image: image1.png]