	      [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	INTERNATIONAL DISTRIBUTOR PRICE LIST

DOLPHIN 3000 Series Disposable SpO2 Sensors 

(Nellcor Compatible)



	
	
	
	
	

	Part number
	Model number
	Description
	Price 

$ USD

	0012315
	3311-V
	Disposable sensors – Adult.

Vinyl tape. Pack of 24.
	$150.00

	0012316
	3311-F
	Disposable sensors – Adult.

Foam tape. Pack of 24.
	$150.00

	0012317
	3312-V
	Disposable sensors – Paediatric.

Vinyl tape. Pack of 24.
	$150.00

	0012318
	3312-F
	Disposable sensors – Paediatric.

Foam tape. Pack of 24.
	$150.00

	0012319
	3313-C
	Disposable sensors – Infant.

Cloth material tape. Pack of 24.
	$150.00

	0012320
	3314-C
	Disposable sensors – Neonatal.

Cloth material tape. Pack of 24.
	$150.00

	0012363
	3313-CX
	Disposable sensors – Infant.

Cloth material tape, extra strong adhesive. Pack of 24.
	$150.00

	0012364
	3314-CX
	Disposable sensors – Neonatal.

Cloth material tape, extra strong adhesive. Pack of 24.
	$150.00

	0012411
	2411
	Extension cable. 9 pin D’ (f) – 9 pin D’ (m). Cable length 1.80 m (6’).
	$25.95

	0012421
	2421
	Extension cable. 9 pin D’ (f) – 9 pin D’ (m). Cable length 3.00 m (10’).
	$31.25

	0012417
	2417
	Adapter cable – Hewlett Packard. 9 pin D’ (f) – 12 pin HP (m). 

Cable length 1.80 m (6’).
	$77.75

	0012427
	2427
	Adapter cable – Hewlett Packard. 9 pin D’ (f) – 12 pin HP (m). 

Cable length 3.00 m (10’).
	$90.50

	0012418
	2418
	Adapter cable – SpaceLabs. 9 pin D’ (f) – 12 pin Hypertronics (m). 

Cable length 1.80 m (6’).
	$71.25

	0012428
	2428
	Adapter cable – SpaceLabs. 9 pin D’ (f) – 12 pin Hypertronics (m). 

Cable length 3.00 m (10’).
	$84.25

	
	
	
	
	

	Prices effective: 7 July 2005

Prices: EXW (Incoterms 2000) Viamed UK

Extension/adapter cable warranty: 12 months from invoice date.                               CE0459                     


Connector: 9 pin D’ type (m).  7 pins loaded, pins 4 & 8 not connected.

Not compatible for use with equipment that utilise Oximax technology.

Please contact Viamed for further details regarding other ranges of OEM and compatible disposables sensors for use with equipment from manufacturers such as: CSI, Datex, Nellcor, Nonin, Ohmeda…

Other sensor types are also available such as: 

Finger sensors, multi-site ‘Y’ sensors, Ear sensors, DOT sensors, Wrap sensors…

Viamed also offers repair services for OEM and compatible sensors.
[image: image1.png]