	      [image: image1.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	INTERNATIONAL DISTRIBUTOR PRICE LIST

800 Series 

Pulse Oximetry Multi-Site ‘Y’ Sensors


	   

	Part number
	Model
	Compatible oximeter manufacturer
	Cable length
	Connector type
	Price 

$ USD

	
	
	
	Feet 
	Metres
	
	

	0018562
	P856YA
	Nellcor
	3
	0.90
	9 pin D’
	$77.50

	0018572
	P857YA
	Spacelabs
	10
	3.00
	12 pin Hypertronics
	$120.00

	0018582
	P858YA
	Nellcor
	12
	3.65
	9 pin D’
	$83.75

	0018592
	P859YA
	Pace Tech
	12
	3.65
	Switchcraft, 5 way
	$120.00

	0018602
	P860YA
	Simed, Baxter
	12
	3.65
	9 pin Hypertronics
	$120.00

	0018612
	P861YA
	BCI
	3
	0.90
	9 pin D’
	$78.75

	0018642
	P864YA
	Datascope
	12
	3.65
	8 pin DIN
	$120.00

	0018662
	P866YA
	Simed, Baxter
	12
	3.65
	9 pin Hypertronics
	$120.00

	0018672
	P867YA
	Ohmeda
	12
	3.65
	9 pin Hypertronics
	$94.75

	0018692
	P869YA
	Criticare
	3
	0.90
	9 pin D’
	$78.75

	0018712
	P871YA
	Nonin
	3
	0.90
	9 pin D’
	$90.00

	0018732
	P873YA
	Datex
	3
	0.90
	9 pin D’
	$78.75

	0018752
	P875YA
	Novametrix
	10
	3.00
	7 pin Hypertronics
	$120.00

	0018762
	P876YA
	Novametrix
	10
	3.00
	7 pin Hypertronics
	$120.00

	0018782
	P878YA
	Invivo
	10
	3.00
	7 pin Lemo
	$120.00

	0018862
	P886YA
	Kontron
	12
	3.65
	12 pin DPK1 (maroon)
	$120.00

	0018872
	P887YA
	Spacelabs
	10
	3.00
	12 pin Hypertronics
	$120.00

	0018882
	P888YA
	S & W
	12
	3.65
	SPK1 (purple), 10 way
	$120.00

	0018922
	P892YA
	Marquette
	10
	3.00
	11 pin Marquette
	$130.00

	0018962
	P896YA
	S&W
	12
	3.65
	SPK1-N (pink), 10 way
	$120.00

	Accessories

	0021003
	   
	Ear clip
	$6.00

	0021012
	6554
	Sensor wrap, single.  

Adult or paediatric finger, infant toe, neonatal foot. 
	$0.65

	0021013
	6554
	Sensor wrap, box of 12.  

Adult or paediatric finger, infant toe, neonatal foot.
	$6.48


	Prices effective: 17 February 2006 and supersede all other list prices. 

                           Not to be used in conjunction with existing offers/contracts.
Delivery: EXW (Incoterms 2000) Viamed UK.

Warranties: Finger sensors & extension/adapter cables - 12 months from invoice date. 

                    Multi-site ‘Y’ sensors - 6 months from invoice date.                                                           CE0086                                               


*Connector: 9 pin D’ type (m).  7 pins loaded, pins 4 & 8 not connected.

	Not compatible for use with equipment that utilise Oximax technology, i.e. Nellcor 550 & 595 pulse oximeters.
	
	 


[image: image1.png]