	     [image: image23.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom

Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	UK PRICE LIST

MEDICAL OXYGEN SENSOR ACESSORIES




	Part number


	Model
	Description
	
	Price

	0120099
	B-50057
	Oxygen sensor flow diverter, 15mm. 

For use with R17MED, R22MED, R24MED, T7
	[image: image1.jpg]



	£5.00

	0120100
	A-268

BE 125-1TD
	‘T’ adapter, 22mm I.D – 22mm O.D, T 15mm I.D. 

Disposable.

Material: High-density polyethylene.
	[image: image2.png]



	£2.50

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.

For use with R17MED, R22MED, R24MED, T7
	
	£3.50

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D. 

For use with R17MED, R22MED, R24MED, T7
	
	£3.50

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm). 

15mm I.D. –15mm O.D., T 15mm I.D.


	[image: image3.jpg]



	£1.50

	0120104
	A274

BE 125-1T
	‘T’ adapter, 22mm O.D. – 22mm I.D.

T 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	[image: image4.png]



	£7.25

	0120106
	BE 117-W
	‘T’ adapter, 22mm I.D – 22mm O.D,

T 15mm I.D./22mm O.D. (T length longer than 0120100)

Disposable. 

Material: High-density polyethylene.
	[image: image5.png]



	£2.50

	0120107
	BE 117-C
	‘T’ adapter, non re-breathing. 

22mm O.D. - 22mm I.D.  T 15mm I.D./22mm O.D.

Disposable. 

Material: High-density polyethylene.
	[image: image6.png]2
y




	£2.50

	0120108
	BE125-1
	‘T’ adapter, 22mm O.D – 22mm O.D,

T 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate
	[image: image7.png]



	£2.50

	0120120
	
	Oxygen concentrator adapter. 

Screws onto sensor, tapered inlet. 

For use with R17MED, R22MED, R24MED, T7
	[image: image8.png]



	£4.25

	
	
	
	
	

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 


	 [image: image9.jpg]



	£1.28

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.


	 [image: image10.jpg]



	£1.45

	0120127
	1974
	Oxygen connector, 

15mm I.D./22mm O.D. – 6.5mm (tapered). 


	[image: image23.png]      
	£1.13

	0120130
	BE 145-2P
	Connector, 15mm O.D. – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	[image: image11.jpg]



	£1.50

	0120131
	BE 145-1522P
	Connector, 15mm I.D./22mm O.D – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	[image: image12.jpg]



	£1.50

	0120133
	BE 145-2230P
	Connector, 22mm I.D./30mm O.D – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	[image: image13.jpg]



	£1.50

	0120160
	BE 105-10
	FiO2 sensor adapter. 

15mm I.D./22mm O.D. - 15mm I.D./22mm O.D.

Reusable. Material: Polycarbonate

Includes: 

BE 101-3A activator for small-bore tubing.
	[image: image14.png]



	£8.90

	0120161
	BE 101-3A
	FiO2 activator for small bore tubing.

Reusable. 

Material: Polycarbonate.
	[image: image15.png]



	£6.00

	0120162
	ACT 15/22
	FiO2 activator for 15mm O2 sensors, 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	[image: image16.png]



	£6.00

	0120163
	ACT 18/22
	FiO2 activator for 18mm O2 sensors, 18mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	[image: image17.png]



	£6.00

	0120164
	MT 100
	Spring loaded FiO2 sensor adapter. 

15mm I.D./22mm O.D. - 15mm I.D./22mm O.D.

Activator is reusable. ‘T’ assembly is disposable.
	[image: image18.png]



	£6.50

	0120165
	MT 100-TA
	Replacement ‘T’ assembly for MT 100.

Disposable. 

Material: Polyethylene.
	[image: image19.png]



	£1.75

	0120166
	MT 100-A
	Replacement activator for MT 100.

Reusable. 

Material: Polycarbonate.
	[image: image20.png]



	£4.75

	
	
	
	
	

	0121205
	C53790
	Calibration assembly. 

For use with R17MED, R22MED, R24MED, T7
	
	£12.95

	
	
	
	
	


For perfusion circuits the following can be utilised:

[image: image24.jpg]



1 x 0120100

1 x 0120131

1 x 0120133

	Prices effective: 18 May 2009
Prices exclude V.A.T. and postage and packing.

CE0086




  Tel:  

01535 633705

Fax: 

01535 635582

e-mail:
sales@viamed.co.uk

	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image21.png]Master€ard




	 
[image: image22.png]VISA







Page 3 of 3

[image: image25.jpg]


_76227656.unknown

_92798564.unknown

