	     [image: image3.png]



	VIAMED
	
	Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom
Tel: 01535 634542               Fax: 01535 635582

Email: info@viamed.co.uk  Website: www.viamed.co.uk



	INTERNATIONAL DISTRIBUTOR PRICE LIST

AX300 Oxygen Analyser &

MX300 Oxygen Monitor 



	
	
	
	
	

	Part number
	Model number
	Description
	Price Euros €

	0111230
	AX300
	Oxygen analyser, without adjustable alarms.

3½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: 0 – 1 Volt analogue.

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter.

Sensor cable.

'V' mount adapter plate.

Mounting stand.

Non-conductive 'T' adapter (22mm, tapered).

3 x AA 1.5V batteries.

Instruction manual.

Declaration of Conformity.


	€174.25

	0111232
	AX300 

Includes.optional:

RS232 output.
	Oxygen analyser, without adjustable alarms.

3½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: RS232.

Includes sensor and standard accessories.


	€194.00

	0111233
	AX300

Includes optional: 
2½ digit LCD.

	Oxygen analyser, without adjustable alarms.

2½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: 0 – 1 Volt analogue.

Includes sensor and standard accessories.


	€189.25

	0111234
	AX300

Includes optional:

RS232 output.

2½ digit LCD.


	Oxygen analyser, without adjustable alarms.

2½ digit LCD display with backlight.

Sensor disconnect alarm.

<17% alarm.

Output: RS232

Includes sensor and standard accessories.


	€209.00

	
	
	
	

	Part number
	Model number
	Description
	Price Euros €

	0111235
	MX300
	Oxygen monitor, with alarms.

3½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: 0 - 1 Volt analogue.

Includes sensor and standard accessories:

Oxygen sensor - R17MED & oxygen sensor flow diverter.

Sensor cable.

'V' mount adapter plate.

Mounting stand.

Non-conductive 'T' adapter (22mm, tapered).

3 x AA 1.5V batteries.

Instruction manual.

Declaration of Conformity.


	€259.25

	0111237
	MX300

Includes.optional:

RS232 output.
	Oxygen monitor, with alarms.

3½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: RS232.

Includes sensor and standard accessories.


	€279.00

	0111238
	MX300

Includes optional: 
2½ digit LCD.
	Oxygen monitor, with alarms.

2½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: 0 - 1 Volt analogue.

Includes sensor and standard accessories.


	€274.25

	0111239
	MX300

Includes optional:

RS232 output.

2½ digit LCD.
	Oxygen monitor, with alarms.

2½ digit LCD display with backlight.

Adjustable low and high alarms.

Sensor disconnect alarm.

Output: RS232.

Includes sensor and standard accessories.


	€294.00

	
	
	
	

	
	
	
	

	Optional Accessories & Consumables

	

	Part number
	Model number
	Description
	Price Euros €

	0110017
	C43690
	Oxygen sensor, R17MED.
	   €27.63

	0120099
	B-50057
	Oxygen sensor flow diverter.
	     €4.25

	0120100
	A-268
	‘T’ adapter, disposable, 22mm I.D – 22mm O.D, T 15mm I.D. 
	€1.53

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.
	€4.04

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D.
	€4.04

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm). 

15mm I.D. –15mm O.D., T 15mm I.D.
	€2.13

	0120120
	
	Oxygen concentrator adapter. Screws onto sensor, tapered inlet.
	€5.53

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	€1.70

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	€1.70

	0120127
	1974
	Oxygen connector, 15mm I.D./22mm O.D. – 6.5mm (tapered). 
	€1.49

	0121197
	
	‘V’ mount pole clamp, horizontal.
	€34.43

	0121198
	
	‘V’ mount rail clamp.
	€90.95

	0121199
	
	Swivel mount.
	€35.28

	0121200
	CP2345
	Universal mounting clamp.
	€38.35

	0121201
	CP2344
	‘V’ mount pole clamp.
	€37.61

	0121202
	B 647
	‘V’ mount wall plate.
	€11.69

	0121203
	B-75554
	0-1 V DC interface cable.
	€15.73

	0121204
	B-75555
	RS232 interface cable.
	€26.14

	0121205
	C53790
	Calibration assembly for AX300 & MX300.
	€10.20

	0131200
	C74721
	Sensor cable for AX300 & MX300.
	€19.20

	
	
	
	
	

	Prices effective: 11 June 2009

Availability: Ex-Stock

Delivery: EXW (Incoterms 2000) Viamed UK 

                                                                                                                                             CE0086

 


Tel:  
+44 1535 633705

Fax: 
+44 1535 635582

e-mail:
sales@viamed.co.uk
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image1.png]Master€ard




	 
[image: image2.png]VISA







Page 3 of 3

[image: image3.png]_1145192177.bin

_1145192477.bin

