Nova products without Clinical Trial Data   


This product range has  not been subjected to Clinical trials as defined in Annexe 10 and was placed place on the market prior to the introduction of the CE mark and associated procedures 

Placed on the market prior to 1988
YES     

Grandfather product
YES    

Equivalent to other products on the market 
YES    

The Oxygen Hood is a small transparent enclosure to allow higher levels of Oxygen to be delivered, 

1. Benefit /risk of the devices
Each of these devices was designed ina Hospital department to overcome a specific nursing problem, The greatest risk is overuse and cross infection

2. Equivalence to other devices on the market
There are ranges of  Acrylic, and polycarbonate moulded devices, 
Full CE Technical file is available

3. Demonstration of acceptability to harmonised standards

4. The “state of the art”
These products are manufactured from sheet Acrylic on a metal frame.

5. Post market surveillance data on device performance
There have been no changes initiated by the user and no reported incidents, 
Vigilance reports

6. Registry data

7. Maintenance history
This product range does not require maintenance

8. Sales/marketing feedback

9. User feedback.

Nova products without clinical trial data.doc   24. May. 2009     1  Of  1

