Microstim Testing and QA

Microstims DB's are supplied to Viamed fully assembled and Tested,

- Ensure there is no physical damage to the unit or marks to labels.
- Follow the Operating Instructions Microstim DB3 Tester as Found in the Document Index.
- Disconnect the Microstim, Remove the battery and refit the battery cover.