     [image: image2.png]



VIAMED

Viamed Limited - 15 Station Road - Cross Hills

Keighley -West Yorkshire  BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542     Fax: +44 (0)1535 635582

Email: info@viamed.co.uk   Website: www.viamed.co.uk


VM3COP 61.01

Part number: 2520003

Patient cable for use with Microstim DB3.

NOTE: This cable is made from cable assembly (part number 2520001) that is reworked by Unimed, i.e.  press stud connections are removed by them and replaced with over-moulded pinch clamp connectors (small).

Upon receipt from Unimed remove any manufacturers’ labels from the packaging.

Test continuity of cables by using a multi-meter.

Affix label 00310110 to the cable as shown.

Affix bar code label to packaging.

[image: image1.jpg]



[image: image2.png]