	     [image: image3.png]



	VIAMED
	
	Viamed Limited 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542         Fax: +44 (0)1535 635582

Email: info@viamed.co.uk         www.viamed-online.com



	UK PRICE LIST

Accessories & Spare Parts for

AX300 Oxygen Analyser & MX300 Oxygen Monitor 



	
	
	
	

	Part Number
	Model Number
	Description
	Price 

£

	0100150
	C73884E
	PCB assembly – AX300i
Output:  0-1V

Display: 3 ½ digits
	£85.00

	0100151
	C73884F
	PCB assembly – AX300i
Output:  0-1V

Display: 2 ½ digits
	£104.50

	0100152
	C73884G
	PCB assembly – AX300i
Output:  RS232

Display: 3 ½ digits
	£104.50

	0100153
	C73884H
	PCB assembly – AX300i
Output:  RS232

Display: 2 ½ digits
	£124.00

	0100160
	C73884A
	PCB assembly – MX300i

Output:  0-1V

Display: 3 ½ digits
	£105.00

	0100161
	C73884B
	PCB assembly –MX300i
Output:  0-1V

Display: 2 ½ digits
	£124.50

	0100162
	C73884C
	PCB assembly – MX300i
Output:  RS232

Display: 3 ½ digits
	£124.50

	0100163
	C73884D
	PCB assembly – MX300i
Output:  RS232

Display: 2 ½ digits
	£144.00

	0100170
	B-74543-B
	Front panel - AX300
Includes green bezel & display lens 0131220.

Does not include keypad membrane 0121207.
	£25.00

	0100171
	B-74543
	Front panel – MX300
Includes green bezel & display lens 0131220.

Does not include keypad membrane 0121208.
	£25.00

	0100172
	B-74466
	Base assembly (does not include 3 x suction cup feet)
	£20.00

	0110017
	C43690
	Oxygen sensor, R17MED
	£40.00

	0120099
	B-50057
	Oxygen sensor flow diverter
	£5.00

	0120100
	A-268
	‘T’ adapter, disposable, 22mm I.D – 22mm O.D, T 15mm I.D.
	£2.50

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.
	£3.50

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D.
	£3.50

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm)
15mm I.D. –15mm O.D., T 15mm I.D.
	£1.50

	0120120
	
	Oxygen concentrator adapter. Screws onto sensor, tapered inlet
	£5.50

	0120125
	1967
	Oxygen connector, 22mm I.D. – 22mm I.D. 
	£1.28

	0120126
	1969
	Oxygen connector, 22mm O.D. – 22mm O.D.
	£1.45

	0120127
	1974
	Oxygen connector, 15mm I.D./22mm O.D. – 6.5mm (tapered)
	£1.13

	0121197
	
	‘V’ mount pole clamp, horizontal
	£37.65

	0121198
	
	‘V’ mount rail clamp
	£93.15

	0121199
	
	Swivel mount
	£38.25

	0121200
	CP2345
	Universal mounting clamp
	£39.70

	0121201
	CP2344
	‘V’ mount pole clamp
	£40.75

	0121202
	B 647
	‘V’ mount wall plate
	£15.00

	0121203
	B-75554
	0-1 V DC interface cable
	£19.20

	0121204
	B-75555
	RS232 interface cable
	£29.45

	0121205
	C53790
	Calibration assembly for AX300 & MX300
	£12.95

	0121207
	
	Keypad membrane – AX300i
	£5.00

	0121208
	
	Keypad membrane – MX300i
	£5.00

	0121209
	
	Screw kit, set of 5 (4 short, 1 long)
	£2.50

	0121210
	D-74459
	Rear panel – AX300 & MX300
Includes:

0131207 Battery cover seal.

0131208 Case seal.
	£15.00

	0121211
	C-74462
	Rear panel battery cover
	£5.00

	0121212
	C-74463
	Rear panel battery cover lock
	£2.00

	0121213
	B-74463
	Rear panel mounting plate
	£7.50

	0131200
	C74721
	Sensor cable for AX300 & MX300
	£20.00

	0131205
	C2247
	Suction cup feet for base assembly
	£1.30

	0131207
	
	Battery cover seal
	£2.50

	0131208
	
	Case seal
	£3.00

	0131209
	
	Output connector seal
	£0.50

	0131210
	C75898H
	Replacement case assembly for AX300
Includes:

0100170 Front panel

0100172 Base assembly

0121209 Screw kit

0121210 Rear panel

0121211 Battery door

0121212 Battery door lock

0121213 Mounting plate
	£70.00

	0131212
	C75898G
	Replacement case assembly for MX300
Includes:

0100171 Front panel

0100172 Base assembly

0121209 Screw kit

0121210 Rear panel

0121211 Battery cover

0121212 Battery cover lock

0121213 Mounting plate
	£70.00

	0131215
	
	Input (oxygen sensor) connector
	£3.00

	0131216
	
	Output connector
	£3.50

	0131220
	
	Display lens for use with B-74543-B & B-74543
	£4.00

	CE0086
Prices effective: 10 July 2009
Prices exclude V.A.T. and postage & packing.

Postage and packing: Royal Mail same day dispatch for orders received before 15:00 

                                    Or 

                                    £8.50 next day courier delivery, <20kg.                                          


Tel:  
01535 633705

Fax: 
01535 635582

e-mail:
sales@viamed.co.uk
	www.viamed-online.com

Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image1.png]Master€ard




	 
[image: image2.png]VISA







[image: image3.png]_1145192177.bin

_1145192477.bin

