	     [image: image44.png]



	VIAMED
	
	Viamed Limited 15 Station Road - Cross Hills

Keighley - West Yorkshire, BD20 7DT - United Kingdom

Tel: +44 (0)1535 634542        Fax: +44 (0)1535 635582

Email: info@viamed.co.uk        www.viamed-online.com



	UK PRICE LIST

Maxtec Oxygen Analysers & Monitors



	
	
	
	
	
	

	Part number
	Model number
	Description
	Price £

	0111260
	MAXO2+A
	Oxygen analyser, with integral oxygen sensor.

The MAXO2+A was designed with simplicity and portability in mind. This analyser is ideal for checking oxygen percent accuracy in concentrators.

( Two-year warranty on both the analyser and the sensor.

( Internal MAX-250+ long life sensor.

( 5000+ hours operation on two AA batteries.

( Easy one-touch calibration.

( Patented ergonomic design fits comfortably in your hand.

( Quickly adapts to bore tube applications.

	[image: image1.jpg]



	£229.00

	0111261
	MAX02+AE
	Oxygen analyser, includes external oxygen sensor.

The MAX02+AE is best used anywhere an in-line analyser is required, when alarms are not deemed important. It is especially useful in conjunction with older ventilators or oscillators.

( Two-year warranty on both the analyser and the sensor.

( External MAX-250E long life sensor.

( 5000+ hours operation on two AA batteries.

( Easy one-touch calibration.

( Patented ergonomic design fits comfortably in your hand.


	[image: image2.jpg]




	£229.00

	0111262
	MAX02+AE

(short cable)
	Oxygen analyser, includes external oxygen sensor.

Same as 0111261, MAXO2+AE above, but with short sensor cable.
	[image: image3.jpg]



	£229.00

	0111250
	HANDI
	Oxygen analyser, with integral oxygen sensor.

Designed to be disposable at the end of the sensor life. Suitable for spot-checking oxygen levels in hospitals, clinics homecare environments.

( Maintenance free.

( 2 year warranty.

( Auto-off function with low battery indicator.
	      [image: image4.jpg]




	£125.00

	0111251
	OM-25A
	Oxygen analyser, with integral oxygen sensor.

( Easily mounts to a ventilator, I.V. pole, or on the wall.

( External MAX-250 long life sensor.

( Large easily read display.
	      [image: image5.jpg]



	£265.00

	0111252
	OM-25AE
	Oxygen analyser, includes external oxygen sensor.

( Easily mounts to a ventilator, I.V. pole, or on the wall.

( External MAX-250E long life sensor.

( Large easily read display.
	[image: image6.jpg]



	£265.00

	0111253
	OM-25ME
	Oxygen monitor with high/low alarm. 

Includes external oxygen sensor.

( Easily mounts to a ventilator, I.V. pole, or on the wall.

( External MAX-250E long life sensor.

( Large easily read display.

( Long battery life (3,000 hrs on 2 x AA batteries).

    18%-99% alarm limits 

NOTE: For applications that require low alarm down to 15%, please see the special MEL version as below.


	      [image: image7.jpg]



     
	£395.00

	0111254
	OM-25MEL
	Oxygen monitor with high/low alarm. 

Includes external oxygen sensor.

Special version of the 0111253, OM-25ME 

with low alarm setting down to 15%.
	      [image: image8.jpg]




	£395.00

	0110427
	R125P02-011
	Oxygen sensor, MAX-250+.

24 months warranty.

For use with Maxtec MAXO2+A.


	        [image: image9.jpg]


                                                       
	£70.00

	0110428
	R125P01-002
	Oxygen sensor, MAX-250.

24 months warranty.

For use with Maxtec OM-25A.


	         [image: image10.jpg]



	£65.00

	0110429
	R125P03-002
	Oxygen sensor, MAX-250E.

24 months warranty.

For use with Maxtec MAXO2+AE. OM-25AE, OM-25ME, OM-25MEL, MaxBlend.


	          [image: image11.jpg]



	£65.00

	0110430
	R115P85
	MAX-250ESF

Small size and fast response.

12 months warranty.

For use with Maxtec MAXO2+AE. OM-25AE, OM-25ME, OM-25MEL, MaxBlend.


	           [image: image12.jpg]



	£65.00


Accessories

	Part number
	Model number
	Description
	Price £
	Part number

	0121300
	RP76P06
	Lanyard for use with MAXO2 series oxygen analysers.
	
	£2.50

	0121301
	R217P22
	Belt clip and pin assembly,

for use with MAXO2 series oxygen analysers.
	            [image: image13.jpg]



	£8.50

	0121302
	R217P23
	‘V’ mount assembly, 

for use with MAXO2 series oxygen analysers.
	             [image: image14.jpg]


   
	£8.50

	0121303
	R217P32
	Case - soft ‘tight fit’,

for use with MAXO2 series oxygen analysers.
	            [image: image15.jpg]



	£8.50

	0121304
	R213P90
	Case – ‘waterproof’, for use with MAXO2 & Handi series oxygen analysers.
	                    [image: image16.jpg]


    
	£20.00

	0121310
	R213P92
	Lanyard for use with Handi oxygen analyser.
	                             [image: image17.jpg]




	£5.00

	0121315
	R213P02
	Case – soft, for use with OM25 series oxygen analysers & monitors.
	                       [image: image18.jpg]



	£15.00

	0121316
	R213P56
	Carrying case – deluxe, for use with OM25 series oxygen analysers & monitors.
	                          [image: image19.jpg]



	£35.00

	0121317
	R213P55
	Tabletop stand, for use with OM25 series oxygen analysers & monitors.
	                        [image: image20.jpg]



	TBA

	0121201
	CP2344
	‘V’ mount pole clamp.
	                          [image: image21.jpg]



	£40.75

	0121202
	B647
	‘V’ mount wall plate.
	                           [image: image22.jpg]



	£15.00

	0121197
	R206P76
	‘V’ mount pole clamp, horizontal.
	                       [image: image23.jpg]



	£37.65

	0121198
	R100P10
	‘V’ mount rail clamp.
	                       [image: image24.jpg]



	£93.15

	0121199
	R213P31
	Swivel mount.
	                   [image: image25.jpg]=&




	£38.25

	0120099
	B-50057
	Oxygen sensor flow diverter, 15mm. 
	[image: image26.jpg]



	£5.00

	   
	
	
	
	

	0120100
	A-268

BE 125-1TD
	‘T’ adapter, 22mm I.D – 22mm O.D, T 15mm I.D. 

Disposable.

Material: High-density polyethylene.
	


	£2.50

	0120101
	A51589
	Oxygen sensor adapter cap, 22mm I.D.


	
	£3.50

	0120102
	A51588
	Oxygen sensor adapter cap, 22mm O.D. 


	
	£3.50

	0120103
	A284
	‘T’ adapter for paediatric circuits (15mm). 

15mm I.D. –15mm O.D., T 15mm I.D.


	       [image: image28.jpg]



	£1.50

	0120104
	A274

BE 125-1T
	‘T’ adapter, 22mm O.D. – 22mm I.D.

T 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	


	£7.25

	0120106
	BE 117-W
	‘T’ adapter, 22mm I.D – 22mm O.D,

T 15mm I.D./22mm O.D. 

(T length longer than 0120100)

Disposable. 

Material: High-density polyethylene.
	


	£2.50

	0120107
	BE 117-C
	‘T’ adapter, non re-breathing. 

22mm O.D. - 22mm I.D.  T 15mm I.D./22mm O.D.

Disposable. 

Material: High-density polyethylene.
	


	£2.50

	0120108
	BE125-1
	‘T’ adapter, 22mm O.D – 22mm O.D,

T 15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate
	


	£2.50

	0120120
	R106P15
	Oxygen concentrator adapter. 

Screws onto sensor, tapered inlet. 
	           [image: image33.png]



	£5.50

	0120130
	BE 145-2P
	Connector, 15mm O.D. – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	[image: image34.jpg]



	£1.50

	0120131
	BE 145-1522P
	Connector, 15mm I.D./22mm O.D – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	[image: image35.jpg]



	£1.50

	0120133
	BE 145-2230P
	Connector, 22mm I.D./30mm O.D – tapered barbed connection. 

Reusable. 

Material: Polycarbonate.
	[image: image36.jpg]



	£1.50

	0120160
	BE 105-10
	FiO2 sensor adapter. 
15mm I.D./22mm O.D. - 15mm I.D./22mm O.D.

Reusable. Material: Polycarbonate

Includes: 

BE 101-3A activator for small-bore tubing.
	[image: image37.png]



	£8.90

	0120162
	ACT 15/22
	FiO2 activator for 15mm O2 sensors, 

15mm I.D./22mm O.D.

Reusable. 

Material: Polycarbonate.
	[image: image38.png]



	£6.00

	0120164
	MT 100
	Spring loaded FiO2 sensor adapter. 
15mm I.D./22mm O.D. - 15mm I.D./22mm O.D.

Activator is reusable. ‘T’ assembly is disposable.
	        [image: image39.png]



	£6.50

	0120165
	MT 100-TA
	Replacement ‘T’ assembly for MT 100.

Disposable. 

Material: Polyethylene.
	       [image: image40.png]



	£1.75

	0120166
	MT 100-A
	Replacement activator for MT 100.

Reusable. 

Material: Polycarbonate.
	       [image: image41.png]



	£4.75

	0121205
	C53790
	Calibration assembly. 


	
	£12.95

	For perfusion circuits the following can be utilised:

[image: image44.png]
1 x 0120100

1 x 0120131

1 x 0120133
NOTE: For medical applications that require an analyser with fixed safety low alarm, please see the 

Teledyne AX300 range, part numbers: 0111230, 0111232, 0111232 & 0111233.




Prices effective: 10 July 2009

Prices exclude VAT and postage & packing

Postage & Packing: Royal Mail same day dispatch for orders received before 15:00

      OR 

                                £8.50 next day delivery, <20kg

Tel:  
01535 633705

Fax: 
01535 635582

e-mail:
sales@viamed.co.uk
www.viamed-onine.com
	Purchase orders welcomed by: Telephone, fax, e-mail or post.

Payments also accepted by MasterCard, Visa and ‘Purchasing Card’
	
[image: image42.png]Master€ard




	 
[image: image43.png]VISA







[image: image45.jpg]


_1145192177.bin

_1145192477.bin

